## PLC Tags
Name | Path | Data Type | Logical Address | Comment | Hmi Visible | Hmi Accessible | Hmi Writeable | Typeobject ID | Version ID
FLOW FHO-T T2 MixTank | IO REMOTE1\Flow meter | Bool | %I20.0 |  | True | True | True
FLOW FHO-T T1 | IO REMOTE1\Flow meter | Bool | %I20.1 |  | True | True | True
FLOW SBO T2 MixTank | IO REMOTE1\Flow meter | Bool | %I20.2 |  | True | True | True
FLOW SBO T1 | IO REMOTE1\Flow meter | Bool | %I20.3 |  | True | True | True
FLOW FHO-T Daliy Bin | IO REMOTE1\Flow meter | Bool | %I20.4 |  | True | True | True
FLOW CCR Daliy Bin | IO REMOTE1\Flow meter | Bool | %I20.5 |  | True | True | True
FLOW MET Daliy Bin | IO REMOTE1\Flow meter | Bool | %I20.6 |  | True | True | True
FLOW LYS-L Daliy Bin | IO REMOTE1\Flow meter | Bool | %I20.7 |  | True | True | True
Limit Open AV1 | IO REMOTE1\input Remote1 | Bool | %I30.0 |  | True | True | True
Limit Close AV1 | IO REMOTE1\input Remote1 | Bool | %I30.1 |  | True | True | True
Limit Open AV2 | IO REMOTE1\input Remote1 | Bool | %I30.2 |  | True | True | True
Limit Close AV2 | IO REMOTE1\input Remote1 | Bool | %I30.3 |  | True | True | True
Limit Open AV3 | IO REMOTE1\input Remote1 | Bool | %I30.4 |  | True | True | True
Limit Close AV3 | IO REMOTE1\input Remote1 | Bool | %I30.5 |  | True | True | True
Limit Open AV4 | IO REMOTE1\input Remote1 | Bool | %I30.6 |  | True | True | True
Limit Close AV4 | IO REMOTE1\input Remote1 | Bool | %I30.7 |  | True | True | True
Limit Open AV5 | IO REMOTE1\input Remote1 | Bool | %I31.0 |  | True | True | True
Limit Close AV5 | IO REMOTE1\input Remote1 | Bool | %I31.1 |  | True | True | True
Limit Open AV6 | IO REMOTE1\input Remote1 | Bool | %I31.2 |  | True | True | True
Limit Close AV6 | IO REMOTE1\input Remote1 | Bool | %I31.3 |  | True | True | True
Limit Open AV7 | IO REMOTE1\input Remote1 | Bool | %I31.4 |  | True | True | True
Limit Close AV7 | IO REMOTE1\input Remote1 | Bool | %I31.5 |  | True | True | True
Limit Open AV8 | IO REMOTE1\input Remote1 | Bool | %I31.6 |  | True | True | True
Limit Close AV8 | IO REMOTE1\input Remote1 | Bool | %I31.7 |  | True | True | True
Limit Open AV9 | IO REMOTE1\input Remote1 | Bool | %I32.0 |  | True | True | True
Limit Close AV9 | IO REMOTE1\input Remote1 | Bool | %I32.1 |  | True | True | True
Limit Open AV10 | IO REMOTE1\input Remote1 | Bool | %I32.2 |  | True | True | True
Limit Close AV10 | IO REMOTE1\input Remote1 | Bool | %I32.3 |  | True | True | True
Limit Open AV11 | IO REMOTE1\input Remote1 | Bool | %I32.4 |  | True | True | True
Limit Close AV11 | IO REMOTE1\input Remote1 | Bool | %I32.5 |  | True | True | True
Limit Open AV17 | IO REMOTE1\input Remote1 | Bool | %I32.6 |  | True | True | True
Limit Close AV17 | IO REMOTE1\input Remote1 | Bool | %I32.7 |  | True | True | True
Limit Open AV18 | IO REMOTE1\input Remote1 | Bool | %I33.0 |  | True | True | True
Limit Close AV18 | IO REMOTE1\input Remote1 | Bool | %I33.1 |  | True | True | True
Feedback Run Motor M1 | IO MAIN\input Main | Bool | %I10.0 |  | True | True | True
Overload Motor M1 | IO MAIN\input Main | Bool | %I10.1 |  | True | True | True
Feedback Run Motor M2 | IO MAIN\input Main | Bool | %I10.2 |  | True | True | True
Overload Motor M2 | IO MAIN\input Main | Bool | %I10.3 |  | True | True | True
Feedback Run Motor M5 | IO MAIN\input Main | Bool | %I10.4 |  | True | True | True
Overload Motor M5 | IO MAIN\input Main | Bool | %I10.5 |  | True | True | True
Feedback Run Motor M6 | IO MAIN\input Main | Bool | %I10.6 |  | True | True | True
Overload Motor M6 | IO MAIN\input Main | Bool | %I10.7 |  | True | True | True
Feedback Run Motor M7 | IO MAIN\input Main | Bool | %I11.0 |  | True | True | True
Overload Motor M7 | IO MAIN\input Main | Bool | %I11.1 |  | True | True | True
Feedback Run Motor M8 | IO MAIN\input Main | Bool | %I11.2 |  | True | True | True
Overload Motor M8 | IO MAIN\input Main | Bool | %I11.3 |  | True | True | True
Feedback Run Motor M9 | IO MAIN\input Main | Bool | %I11.4 |  | True | True | True
Overload Motor M9 | IO MAIN\input Main | Bool | %I11.5 |  | True | True | True
Feedback Run Motor M10 | IO MAIN\input Main | Bool | %I11.6 |  | True | True | True
Overload Motor M10 | IO MAIN\input Main | Bool | %I11.7 |  | True | True | True
Feedback Run Motor M11 | IO MAIN\input Main | Bool | %I12.0 |  | True | True | True
Overload Motor M11 | IO MAIN\input Main | Bool | %I12.1 |  | True | True | True
Feedback Run Motor M12 | IO MAIN\input Main | Bool | %I12.2 |  | True | True | True
Overload Motor M12 | IO MAIN\input Main | Bool | %I12.3 |  | True | True | True
Feedback Run Motor M16 | IO MAIN\input Main | Bool | %I12.4 |  | True | True | True
Overload Motor M16 | IO MAIN\input Main | Bool | %I12.5 |  | True | True | True
FLOW TOWER2 | IO REMOTE1\Flow meter | Bool | %I21.0 |  | True | True | True
FLOW SPARE1(1) | IO REMOTE1\Flow meter | Bool | %I21.1 |  | True | True | True
FLOW SPARE1(2) | IO REMOTE1\Flow meter | Bool | %I21.2 |  | True | True | True
FLOW SPARE1(3) | IO REMOTE1\Flow meter | Bool | %I21.3 |  | True | True | True
FLOW SPARE1(4) | IO REMOTE1\Flow meter | Bool | %I21.4 |  | True | True | True
FLOW SPARE1(5) | IO REMOTE1\Flow meter | Bool | %I21.5 |  | True | True | True
FLOW SPARE1(6) | IO REMOTE1\Flow meter | Bool | %I21.6 |  | True | True | True
FLOW SPARE1(7) | IO REMOTE1\Flow meter | Bool | %I21.7 |  | True | True | True
Feedback Run Motor M12 | IO MAIN\input Main | Bool | %I12.2 |  | True | True | True
Overload Motor M12 | IO MAIN\input Main | Bool | %I12.3 |  | True | True | True
Feedback Run Motor M16 | IO MAIN\input Main | Bool | %I12.4 |  | True | True | True
Overload Motor M16 | IO MAIN\input Main | Bool | %I12.5 |  | True | True | True
High Level H1 (A) | IO REMOTE1\input Remote1 | Bool | %I35.0 |  | True | True | True
Low Level L1 (A) | IO REMOTE1\input Remote1 | Bool | %I35.1 |  | True | True | True
High Level H2 (B) | IO REMOTE1\input Remote1 | Bool | %I35.2 |  | True | True | True
Low Level L2 (B) | IO REMOTE1\input Remote1 | Bool | %I35.3 |  | True | True | True
High Level H3 (C) | IO REMOTE1\input Remote1 | Bool | %I35.4 |  | True | True | True
Low Level L3 (C) | IO REMOTE1\input Remote1 | Bool | %I35.5 |  | True | True | True
High Level H4 (D) | IO REMOTE1\input Remote1 | Bool | %I35.6 |  | True | True | True
Low Level L4 (D) | IO REMOTE1\input Remote1 | Bool | %I35.7 |  | True | True | True
High Level H5 (E) | IO REMOTE1\input Remote1 | Bool | %I36.0 |  | True | True | True
Low Level L5 (E) | IO REMOTE1\input Remote1 | Bool | %I36.1 |  | True | True | True
High Level H6 (F) | IO REMOTE1\input Remote1 | Bool | %I36.2 |  | True | True | True
Low Level L6 (F) | IO REMOTE1\input Remote1 | Bool | %I36.3 |  | True | True | True
High Level H7 (Mixtank) | IO REMOTE1\input Remote1 | Bool | %I36.4 |  | True | True | True
Low Level L7 (Mixtank) | IO REMOTE1\input Remote1 | Bool | %I36.5 |  | True | True | True
High Level H8 (FHO-T T1) | IO REMOTE1\input Remote1 | Bool | %I36.6 |  | True | True | True
Low Level L8 (FHO-T T1) | IO REMOTE1\input Remote1 | Bool | %I36.7 |  | True | True | True
High Level H9 (SBO T1) | IO REMOTE1\input Remote1 | Bool | %I37.0 |  | True | True | True
Low Level L9 (SBO T1) | IO REMOTE1\input Remote1 | Bool | %I37.1 |  | True | True | True
High Level H19 (G) | IO REMOTE1\input Remote1 | Bool | %I37.2 |  | True | True | True
Low Level L19 (G) | IO REMOTE1\input Remote1 | Bool | %I37.3 |  | True | True | True
High Level H20 (H) | IO REMOTE1\input Remote1 | Bool | %I37.4 |  | True | True | True
Low Level L20 (H) | IO REMOTE1\input Remote1 | Bool | %I37.5 |  | True | True | True
High Level H21 (I) | IO REMOTE1\input Remote1 | Bool | %I37.6 |  | True | True | True
Low Level L21 (I) | IO REMOTE1\input Remote1 | Bool | %I37.7 |  | True | True | True
High Level H22 (J) | IO REMOTE1\input Remote1 | Bool | %I38.0 |  | True | True | True
Low Level L22 (J) | IO REMOTE1\input Remote1 | Bool | %I38.1 |  | True | True | True
High Level H23 (K) | IO REMOTE1\input Remote1 | Bool | %I38.2 |  | True | True | True
Low Level L23 (K) | IO REMOTE1\input Remote1 | Bool | %I38.3 |  | True | True | True
High Level H24 (L) | IO REMOTE1\input Remote1 | Bool | %I38.4 |  | True | True | True
Low Level L24 (L) | IO REMOTE1\input Remote1 | Bool | %I38.5 |  | True | True | True
High Level H25 (N) | IO REMOTE1\input Remote1 | Bool | %I38.6 |  | True | True | True
Low Level L25 (N) | IO REMOTE1\input Remote1 | Bool | %I38.7 |  | True | True | True
High Level H26 (O) | IO REMOTE1\input Remote1 | Bool | %I39.0 |  | True | True | True
Low Level L26 (O) | IO REMOTE1\input Remote1 | Bool | %I39.1 |  | True | True | True
Limit Open AV12 | IO REMOTE2\input Remote2 | Bool | %I50.0 |  | True | True | True
Limit Close AV12 | IO REMOTE2\input Remote2 | Bool | %I50.1 |  | True | True | True
Limit Open AV13 | IO REMOTE2\input Remote2 | Bool | %I50.2 |  | True | True | True
Limit Close AV13 | IO REMOTE2\input Remote2 | Bool | %I50.3 |  | True | True | True
Limit Open AV14 | IO REMOTE2\input Remote2 | Bool | %I50.4 |  | True | True | True
Limit Close AV14 | IO REMOTE2\input Remote2 | Bool | %I50.5 |  | True | True | True
Limit Open AV15 | IO REMOTE2\input Remote2 | Bool | %I50.6 |  | True | True | True
Limit Close AV15 | IO REMOTE2\input Remote2 | Bool | %I50.7 |  | True | True | True
Limit Open AV16 | IO REMOTE2\input Remote2 | Bool | %I51.0 |  | True | True | True
Limit Close AV16 | IO REMOTE2\input Remote2 | Bool | %I51.1 |  | True | True | True
Limit Open AV19 | IO REMOTE2\input Remote2 | Bool | %I51.2 |  | True | True | True
Limit Close AV19 | IO REMOTE2\input Remote2 | Bool | %I51.3 |  | True | True | True
Limit Open AV20 | IO REMOTE2\input Remote2 | Bool | %I51.4 |  | True | True | True
Limit Close AV20 | IO REMOTE2\input Remote2 | Bool | %I51.5 |  | True | True | True
Limit Open AV21 | IO REMOTE2\input Remote2 | Bool | %I51.6 |  | True | True | True
Limit Close AV21 | IO REMOTE2\input Remote2 | Bool | %I51.7 |  | True | True | True
Limit Open AV22 | IO REMOTE2\input Remote2 | Bool | %I52.0 |  | True | True | True
Limit Close AV22 | IO REMOTE2\input Remote2 | Bool | %I52.1 |  | True | True | True
High Level H10 | IO REMOTE2\input Remote2 | Bool | %I52.2 |  | True | True | True
Low Level L10 | IO REMOTE2\input Remote2 | Bool | %I52.3 |  | True | True | True
High Level H11 | IO REMOTE2\input Remote2 | Bool | %I52.4 |  | True | True | True
Low Level L11 | IO REMOTE2\input Remote2 | Bool | %I52.5 |  | True | True | True
High Level H12 | IO REMOTE2\input Remote2 | Bool | %I52.6 |  | True | True | True
Low Level L12 | IO REMOTE2\input Remote2 | Bool | %I52.7 |  | True | True | True
High Level H13 | IO REMOTE2\input Remote2 | Bool | %I53.0 |  | True | True | True
Low Level L13 | IO REMOTE2\input Remote2 | Bool | %I53.1 |  | True | True | True
High Level H14 | IO REMOTE2\input Remote2 | Bool | %I53.2 |  | True | True | True
Low Level L14 | IO REMOTE2\input Remote2 | Bool | %I53.3 |  | True | True | True
High Level H15 | IO REMOTE2\input Remote2 | Bool | %I53.4 |  | True | True | True
Low Level L15 | IO REMOTE2\input Remote2 | Bool | %I53.5 |  | True | True | True
High Level H16 | IO REMOTE2\input Remote2 | Bool | %I53.6 |  | True | True | True
Low Level L16 | IO REMOTE2\input Remote2 | Bool | %I53.7 |  | True | True | True
High Level H17 | IO REMOTE2\input Remote2 | Bool | %I54.0 |  | True | True | True
Low Level L17 | IO REMOTE2\input Remote2 | Bool | %I54.1 |  | True | True | True
High Level H18 | IO REMOTE2\input Remote2 | Bool | %I54.2 |  | True | True | True
Low Level L18 | IO REMOTE2\input Remote2 | Bool | %I54.3 |  | True | True | True
Perssure PT01 | IO REMOTE1\Analog Remote | Int | %IW100 |  | True | True | True
Perssure PT02 | IO REMOTE1\Analog Remote | Int | %IW102 |  | True | True | True
Perssure PT03 | IO REMOTE1\Analog Remote | Int | %IW104 |  | True | True | True
Perssure PT04 | IO REMOTE1\Analog Remote | Int | %IW106 |  | True | True | True
Perssure PT05 | IO REMOTE1\Analog Remote | Int | %IW108 |  | True | True | True
Perssure PT06 | IO REMOTE1\Analog Remote | Int | %IW110 |  | True | True | True
Perssure PT07 | IO REMOTE1\Analog Remote | Int | %IW112 |  | True | True | True
Perssure PT08 | IO REMOTE1\Analog Remote | Int | %IW114 |  | True | True | True
Perssure PT09 | IO REMOTE1\Analog Remote | Int | %IW116 |  | True | True | True
Radar Tank A | IO REMOTE1\Analog Remote | Int | %IW118 |  | True | True | True
Radar Tank B | IO REMOTE1\Analog Remote | Int | %IW120 |  | True | True | True
Radar Tank C | IO REMOTE1\Analog Remote | Int | %IW122 |  | True | True | True
Radar Tank D | IO REMOTE1\Analog Remote | Int | %IW124 |  | True | True | True
Radar Tank E | IO REMOTE1\Analog Remote | Int | %IW126 |  | True | True | True
Radar Tank F | IO REMOTE1\Analog Remote | Int | %IW128 |  | True | True | True
Radar Tank G | IO REMOTE1\Analog Remote | Int | %IW130 |  | True | True | True
Radar Tank H | IO REMOTE1\Analog Remote | Int | %IW132 |  | True | True | True
Radar Tank I | IO REMOTE1\Analog Remote | Int | %IW134 |  | True | True | True
Radar Tank J | IO REMOTE1\Analog Remote | Int | %IW136 |  | True | True | True
Radar Tank K | IO REMOTE1\Analog Remote | Int | %IW138 |  | True | True | True
Radar Tank L | IO REMOTE1\Analog Remote | Int | %IW140 |  | True | True | True
Radar Tank M | IO REMOTE1\Analog Remote | Int | %IW142 |  | True | True | True
Radar Tank N | IO REMOTE1\Analog Remote | Int | %IW144 |  | True | True | True
Radar Tank O | IO REMOTE1\Analog Remote | Int | %IW146 |  | True | True | True
Radar Tank P | IO REMOTE1\Analog Remote | Int | %IW148 |  | True | True | True
Limit Open AV23 | IO REMOTE1\input Remote1 | Bool | %I33.2 |  | True | True | True
Limit Close AV23 | IO REMOTE1\input Remote1 | Bool | %I33.3 |  | True | True | True
Limit Open AV24 | IO REMOTE1\input Remote1 | Bool | %I33.4 |  | True | True | True
Limit Close AV24 | IO REMOTE1\input Remote1 | Bool | %I33.5 |  | True | True | True
Limit Open AV25 | IO REMOTE1\input Remote1 | Bool | %I33.6 |  | True | True | True
Limit Close AV25 | IO REMOTE1\input Remote1 | Bool | %I33.7 |  | True | True | True
Limit Open AV26 | IO REMOTE1\input Remote1 | Bool | %I34.0 |  | True | True | True
Limit Close AV26 | IO REMOTE1\input Remote1 | Bool | %I34.1 |  | True | True | True
Limit Open AV27 | IO REMOTE1\input Remote1 | Bool | %I34.2 |  | True | True | True
Limit Close AV27 | IO REMOTE1\input Remote1 | Bool | %I34.3 |  | True | True | True
Limit Open AV28 | IO REMOTE1\input Remote1 | Bool | %I34.4 |  | True | True | True
Limit Close AV28 | IO REMOTE1\input Remote1 | Bool | %I34.5 |  | True | True | True
High Level H0 (M) | IO REMOTE1\input Remote1 | Bool | %I34.6 |  | True | True | True
Low Level L0 (M) | IO REMOTE1\input Remote1 | Bool | %I34.7 |  | True | True | True
Count Weight 3 Kg Famsun | IO REMOTE2\input Remote2 | Bool | %I54.4 |  | True | True | True
Count Weight 16 Kg Famsun | IO REMOTE2\input Remote2 | Bool | %I54.5 |  | True | True | True
High Level H28 | IO REMOTE2\input Remote2 | Bool | %I54.6 |  | True | True | True
Low Level L28 | IO REMOTE2\input Remote2 | Bool | %I54.7 |  | True | True | True
High Level H29 | IO REMOTE2\input Remote2 | Bool | %I55.0 |  | True | True | True
Low Level L29 | IO REMOTE2\input Remote2 | Bool | %I55.1 |  | True | True | True
Limit Open AV29 | IO REMOTE2\input Remote2 | Bool | %I55.2 |  | True | True | True
Limit Close AV29 | IO REMOTE2\input Remote2 | Bool | %I55.3 |  | True | True | True
Limit Open AV30 | IO REMOTE2\input Remote2 | Bool | %I55.4 |  | True | True | True
Limit Close AV30 | IO REMOTE2\input Remote2 | Bool | %I55.5 |  | True | True | True
Limit Open AV31 | IO REMOTE2\input Remote2 | Bool | %I55.6 |  | True | True | True
Limit Close AV31 | IO REMOTE2\input Remote2 | Bool | %I55.7 |  | True | True | True
Sol. AV12 | IO REMOTE2\output Remote2 | Bool | %Q50.0 |  | True | True | True
Sol. AV13 | IO REMOTE2\output Remote2 | Bool | %Q50.1 |  | True | True | True
Sol. AV14 | IO REMOTE2\output Remote2 | Bool | %Q50.2 |  | True | True | True
Sol. AV15 | IO REMOTE2\output Remote2 | Bool | %Q50.3 |  | True | True | True
Sol. AV16 | IO REMOTE2\output Remote2 | Bool | %Q50.4 |  | True | True | True
Sol. AV19 | IO REMOTE2\output Remote2 | Bool | %Q50.5 |  | True | True | True
Sol. AV20 | IO REMOTE2\output Remote2 | Bool | %Q50.6 |  | True | True | True
Sol. AV21 | IO REMOTE2\output Remote2 | Bool | %Q50.7 |  | True | True | True
Sol. AV22 | IO REMOTE2\output Remote2 | Bool | %Q51.0 |  | True | True | True
Sol. AV29 | IO REMOTE2\output Remote2 | Bool | %Q51.1 |  | True | True | True
Sol. AV30 | IO REMOTE2\output Remote2 | Bool | %Q51.2 |  | True | True | True
Sol. AV31 | IO REMOTE2\output Remote2 | Bool | %Q51.3 |  | True | True | True
spare Q51.4 | IO REMOTE2\output Remote2 | Bool | %Q51.4 |  | True | True | True
spare Q51.5 | IO REMOTE2\output Remote2 | Bool | %Q51.5 |  | True | True | True
spare Q51.6 | IO REMOTE2\output Remote2 | Bool | %Q51.6 |  | True | True | True
spare Q51.7 | IO REMOTE2\output Remote2 | Bool | %Q51.7 |  | True | True | True
Start Pump M1 | IO MAIN\output Main | Bool | %Q10.0 |  | True | True | True
Start Pump M2 | IO MAIN\output Main | Bool | %Q10.1 |  | True | True | True
Start Pump M5 | IO MAIN\output Main | Bool | %Q10.2 |  | True | True | True
Start Pump M6 | IO MAIN\output Main | Bool | %Q10.3 |  | True | True | True
Start Pump M7 | IO MAIN\output Main | Bool | %Q10.4 |  | True | True | True
Start Pump M8 | IO MAIN\output Main | Bool | %Q10.5 |  | True | True | True
Start Pump M9 | IO MAIN\output Main | Bool | %Q10.6 |  | True | True | True
Start Pump M10 | IO MAIN\output Main | Bool | %Q10.7 |  | True | True | True
Start Pump M11 | IO MAIN\output Main | Bool | %Q11.0 |  | True | True | True
Start Pump M12 | IO MAIN\output Main | Bool | %Q11.1 |  | True | True | True
Start Pump M16 | IO MAIN\output Main | Bool | %Q11.2 |  | True | True | True
Sol. Diaphragm M3 | IO REMOTE1\output Remote1 | Bool | %Q30.0 |  | True | True | True
Sol. Diaphragm M4 | IO REMOTE1\output Remote1 | Bool | %Q30.1 |  | True | True | True
Sol. Diaphragm M13 | IO REMOTE1\output Remote1 | Bool | %Q30.2 |  | True | True | True
Sol. Diaphragm M14 | IO REMOTE1\output Remote1 | Bool | %Q30.3 |  | True | True | True
Sol. Diaphragm M15 | IO REMOTE1\output Remote1 | Bool | %Q30.4 |  | True | True | True
Sol. AV9 | IO REMOTE1\output Remote1 | Bool | %Q31.5 |  | True | True | True
Sol. AV10 | IO REMOTE1\output Remote1 | Bool | %Q31.6 |  | True | True | True
Sol. AV11 | IO REMOTE1\output Remote1 | Bool | %Q31.7 |  | True | True | True
Sol. AV17 | IO REMOTE1\output Remote1 | Bool | %Q32.0 |  | True | True | True
Sol. AV18 | IO REMOTE1\output Remote1 | Bool | %Q32.1 |  | True | True | True
Sol. AV6.1 | IO REMOTE1\output Remote1 | Bool | %Q32.2 |  | True | True | True
Sol. AV24 | IO REMOTE1\output Remote1 | Bool | %Q32.3 |  | True | True | True
Sol. AV23 | IO REMOTE1\output Remote1 | Bool | %Q32.4 |  | True | True | True
Sol. AV1 | IO REMOTE1\output Remote1 | Bool | %Q30.5 |  | True | True | True
Sol. AV2 | IO REMOTE1\output Remote1 | Bool | %Q30.6 |  | True | True | True
Sol. AV26 | IO REMOTE1\output Remote1 | Bool | %Q32.5 |  | True | True | True
Sol. AV27 | IO REMOTE1\output Remote1 | Bool | %Q32.6 |  | True | True | True
Sol. AV28 | IO REMOTE1\output Remote1 | Bool | %Q32.7 |  | True | True | True
Sol. AV3 | IO REMOTE1\output Remote1 | Bool | %Q30.7 |  | True | True | True
Sol. AV4 | IO REMOTE1\output Remote1 | Bool | %Q31.0 |  | True | True | True
Sol. AV5 | IO REMOTE1\output Remote1 | Bool | %Q31.1 |  | True | True | True
Sol. AV6 | IO REMOTE1\output Remote1 | Bool | %Q31.2 |  | True | True | True
Sol. AV7 | IO REMOTE1\output Remote1 | Bool | %Q31.3 |  | True | True | True
Sol. AV8 | IO REMOTE1\output Remote1 | Bool | %Q31.4 |  | True | True | True
System_Byte | Default tag table | Byte | %MB1 |  | True | True | True
FirstScan | Default tag table | Bool | %M1.0 |  | True | True | True
DiagStatusUpdate | Default tag table | Bool | %M1.1 |  | True | True | True
AlwaysTRUE | Default tag table | Bool | %M1.2 |  | True | True | True
AlwaysFALSE | Default tag table | Bool | %M1.3 |  | True | True | True
Clock_Byte | Default tag table | Byte | %MB0 |  | True | True | True
Clock_10Hz | Default tag table | Bool | %M0.0 |  | True | True | True
Clock_5Hz | Default tag table | Bool | %M0.1 |  | True | True | True
Clock_2.5Hz | Default tag table | Bool | %M0.2 |  | True | True | True
Clock_2Hz | Default tag table | Bool | %M0.3 |  | True | True | True
Clock_1.25Hz | Default tag table | Bool | %M0.4 |  | True | True | True
Clock_1Hz | Default tag table | Bool | %M0.5 |  | True | True | True
Clock_0.625Hz | Default tag table | Bool | %M0.6 |  | True | True | True
Clock_0.5Hz | Default tag table | Bool | %M0.7 |  | True | True | True
Mode Liquid T2 | command | Bool | %M100.0 |  | True | True | True
Mode Liquid T1 | command | Bool | %M100.1 |  | True | True | True
Mode Liquid Coating | command | Bool | %M100.2 |  | True | True | True
Mode Liquid Daliy bin | command | Bool | %M100.3 |  | True | True | True
simulate | Default tag table | Bool | %M500.0 |  | True | True | True
Mode Calibrate Flow | command | Bool | %M100.4 |  | True | True | True
sw confirm tank a | Select name | Bool | %M200.0 |  | True | True | True
sw confirm tank b | Select name | Bool | %M200.1 |  | True | True | True
sw confirm tank c | Select name | Bool | %M200.2 |  | True | True | True
sw confirm tank d | Select name | Bool | %M200.3 |  | True | True | True
sw confirm tank e | Select name | Bool | %M200.4 |  | True | True | True
sw confirm tank f | Select name | Bool | %M200.5 |  | True | True | True
sw confirm tank g | Select name | Bool | %M200.6 |  | True | True | True
sw confirm tank h | Select name | Bool | %M200.7 |  | True | True | True
sw confirm tank i | Select name | Bool | %M201.0 |  | True | True | True
sw confirm tank j | Select name | Bool | %M201.1 |  | True | True | True
sw confirm tank k | Select name | Bool | %M201.2 |  | True | True | True
sw confirm tank l | Select name | Bool | %M201.3 |  | True | True | True
sw confirm tank m | Select name | Bool | %M201.4 |  | True | True | True
sw confirm tank n | Select name | Bool | %M201.5 |  | True | True | True
sw confirm tank o | Select name | Bool | %M201.6 |  | True | True | True
sw complete tank a | Select name | Bool | %M202.0 |  | True | True | True
sw complete tank b | Select name | Bool | %M202.1 |  | True | True | True
sw complete tank c | Select name | Bool | %M202.2 |  | True | True | True
sw complete tank d | Select name | Bool | %M202.3 |  | True | True | True
sw complete tank e | Select name | Bool | %M202.4 |  | True | True | True
sw complete tank f | Select name | Bool | %M202.5 |  | True | True | True
sw complete tank g | Select name | Bool | %M202.6 |  | True | True | True
sw complete tank h | Select name | Bool | %M202.7 |  | True | True | True
sw complete tank i | Select name | Bool | %M203.0 |  | True | True | True
sw complete tank j | Select name | Bool | %M203.1 |  | True | True | True
sw complete tank k | Select name | Bool | %M203.2 |  | True | True | True
sw complete tank l | Select name | Bool | %M203.3 |  | True | True | True
sw complete tank m | Select name | Bool | %M203.4 |  | True | True | True
sw complete tank n | Select name | Bool | %M203.5 |  | True | True | True
sw complete tank o | Select name | Bool | %M203.6 |  | True | True | True
sw clear1 | Select name | Bool | %M201.7 |  | True | True | True
sw clear2 | Select name | Bool | %M203.7 |  | True | True | True
Start Sequence M1 | Default tag table | Bool | %M50.0 |  | True | True | True
Start Sequence M2 | Default tag table | Bool | %M50.1 |  | True | True | True
Tag_3 | Default tag table | Bool | %M50.2 |  | True | True | True
Start Sequence M3 | Default tag table | Bool | %M50.3 |  | True | True | True
Start Sequence M4 | Default tag table | Bool | %M50.4 |  | True | True | True
Tag_6 | Default tag table | Bool | %M50.5 |  | True | True | True
Tag_7 | Default tag table | Bool | %M50.6 |  | True | True | True
Tag_8 | Default tag table | Bool | %M50.7 |  | True | True | True
Tag_9 | Default tag table | Bool | %M51.0 |  | True | True | True
Tag_10 | Default tag table | Bool | %M51.1 |  | True | True | True
Tag_11 | Default tag table | Bool | %M51.2 |  | True | True | True
Tag_12 | Default tag table | Bool | %M51.3 |  | True | True | True
Tag_13 | Default tag table | Bool | %M51.4 |  | True | True | True
Tag_14 | Default tag table | Bool | %M51.5 |  | True | True | True
Reset all Daliy bin | Default tag table | Bool | %M99.0 |  | True | True | True
Reset all T1 | Default tag table | Bool | %M99.1 |  | True | True | True
Reset all T2 | Default tag table | Bool | %M99.2 |  | True | True | True
Reset all Coating | Default tag table | Bool | %M99.3 |  | True | True | True
Mode on-off m10 | Default tag table | Bool | %M55.0 |  | True | True | True
Stop | Default tag table | Bool | %M55.1 |  | True | True | True
Low level Coating | Default tag table | Bool | %M55.2 |  | True | True | True
Reset all import | Default tag table | Bool | %M99.4 |  | True | True | True
Sw start delaytime m10 | Default tag table | Bool | %M55.3 |  | True | True | True
High level Coating old | Default tag table | Bool | %M55.4 |  | True | True | True
Low level Coating old | Default tag table | Bool | %M55.5 |  | True | True | True
Mode Coating Old | Default tag table | Bool | %M100.5 |  | True | True | True
Reset all Coating old | Default tag table | Bool | %M99.5 |  | True | True | True
Sw Clear Coating | Default tag table | Bool | %M300.0 |  | True | True | True
sw confirm coating1 | Default tag table | Bool | %M301.0 |  | True | True | True
sw confirm coating2 | Default tag table | Bool | %M301.1 |  | True | True | True
sw confirm coating3 | Default tag table | Bool | %M301.2 |  | True | True | True
sw confirm coating4 | Default tag table | Bool | %M301.3 |  | True | True | True
sw confirm 165 | Default tag table | Bool | %M301.4 |  | True | True | True
sw confirm 185 | Default tag table | Bool | %M301.5 |  | True | True | True
sw confirm 215 | Default tag table | Bool | %M301.6 |  | True | True | True
Tag_1 | Default tag table | Bool | %M98.0 |  | True | True | True
Tag_2 | Default tag table | Bool | %M98.1 |  | True | True | True
Reset All Cal | Default tag table | Bool | %M99.6 |  | True | True | True
Trig Data SBO T1 | Default tag table | Bool | %M60.0 |  | True | True | True
Trig Data FHO-T T1 | Default tag table | Bool | %M60.1 |  | True | True | True
Trig Data SBO T2 | Default tag table | Bool | %M60.2 |  | True | True | True
Trig Data FHO-T T2 | Default tag table | Bool | %M60.3 |  | True | True | True
set sum weight | Default tag table | Bool | %M62.0 |  | True | True | True
cmd log sum weight | Default tag table | Bool | %M63.0 |  | True | True | True
cmd log radar | Default tag table | Bool | %M63.1 |  | True | True | True
Tag_4 | Default tag table | Bool | %M70.0 |  | True | True | True
Trig Data CCR | Default tag table | Bool | %M60.5 |  | True | True | True
Trig Data MET | Default tag table | Bool | %M60.6 |  | True | True | True
Trig Data LYS-L | Default tag table | Bool | %M60.7 |  | True | True | True
Trig Data FHO-T Daliy bin | Default tag table | Bool | %M61.0 |  | True | True | True
Tag_5 | Default tag table | Bool | %M88.0 |  | True | True | True
Sw Clear Daliybin | Default tag table | Bool | %M300.1 |  | True | True | True
Tag_16 | Default tag table | Bool | %M555.0 |  | True | True | True
Check Count Before | Default tag table | Bool | %M250.0 |  | True | True | True
Check Count After | Default tag table | Bool | %M250.1 |  | True | True | True
Alarm Count After | Default tag table | Bool | %M250.2 |  | True | True | True
Alarm Count Before | Default tag table | Bool | %M250.3 |  | True | True | True
Reset Count | Default tag table | Bool | %M99.7 |  | True | True | True
Trig Data LCT | Default tag table | Bool | %M61.1 |  | True | True | True
Tag_15 | Default tag table | Bool | %M65.0 |  | True | True | True
Tag_17 | Default tag table | Bool | %M65.1 |  | True | True | True
Tag_18 | Default tag table | Bool | %M65.2 |  | True | True | True
Tag_19 | Default tag table | Bool | %M65.3 |  | True | True | True
trig sum weight | Default tag table | Bool | %M65.4 |  | True | True | True
Tag_21 | Default tag table | Bool | %M82.0 |  | True | True | True
Tag_22 | Default tag table | Bool | %M82.1 |  | True | True | True
LQ FHO-T OK | Default tag table | Bool | %M84.0 |  | True | True | True
LQ SBO OK | Default tag table | Bool | %M84.1 |  | True | True | True
Tag_23 | Default tag table | Bool | %M94.0 |  | True | True | True
low level 165 | Default tag table | Bool | %Q33.0 |  | True | True | True
low level 185(1) | Default tag table | Bool | %Q33.1 |  | True | True | True
low level 215(1) | Default tag table | Bool | %Q33.2 |  | True | True | True
Tag_24 | Default tag table | Bool | %M65.5 |  | True | True | True
Bit finish FHO-T T2 | Default tag table | Bool | %M87.0 |  | True | True | True
Bit finish SBO T2 | Default tag table | Bool | %M87.1 |  | True | True | True
Data Interface For Famsun | Data Interface Famsun | "Data Link Interface" | %I2000.0 |  | True | True | True
Tag_27 | Default tag table | Bool | %M64.0 |  | True | True | True
Tag_28 | Default tag table | Bool | %M60.4 |  | True | True | True
Trig Count 185 > 10 KG | Default tag table | Bool | %I40.0 |  | True | True | True
Trig Count 165 > 10 KG | Default tag table | Bool | %I40.1 |  | True | True | True
Trig Count 215 > 10 KG | Default tag table | Bool | %I40.2 |  | True | True | True
Trig Count 165 < 10 KG | Default tag table | Bool | %I40.3 |  | True | True | True
Trig Count 215 < 10 KG | Default tag table | Bool | %I40.4 |  | True | True | True
Tag_20 | Default tag table | Bool | %M777.0 |  | True | True | True
Trig SBO Data | Default tag table | Bool | %M61.2 |  | True | True | True
Tag_29 | Default tag table | Bool | %M800.0 |  | True | True | True
Mode On off Cycle | Default tag table | Bool | %M800.1 |  | True | True | True
Cycle Line Twin | Default tag table | Bool | %M800.2 |  | True | True | True
Start Trasfer Line Twin | Default tag table | Bool | %M800.3 |  | True | True | True
Start 08:00 | Default tag table | Bool | %M800.4 |  | True | True | True
Start 12:00 | Default tag table | Bool | %M800.5 |  | True | True | True
Start 16:00 | Default tag table | Bool | %M800.6 |  | True | True | True
Start 20:00 | Default tag table | Bool | %M800.7 |  | True | True | True
Start 24:00 | Default tag table | Bool | %M801.0 |  | True | True | True
Start 04:00 | Default tag table | Bool | %M801.1 |  | True | True | True
Reset M11 | Default tag table | Bool | %M790.0 |  | True | True | True
Reset m12 | Default tag table | Bool | %M790.1 |  | True | True | True
Alram Exchange Old System | Default tag table | Bool | %Q33.3 |  | True | True | True
Tag_38 | Default tag table | Bool | %M780.0 |  | True | True | True
Alarm Mixtank | Default tag table | Bool | %M820.0 |  | True | True | True
Alarm Disconnect | Default tag table | Bool | %M820.1 |  | True | True | True
Mode On-Off Cycle 215-1 | Default tag table | Bool | %M805.0 |  | True | True | True
Cycle Line 215-1 | Default tag table | Bool | %M805.1 |  | True | True | True
Start Trasfer Line 215-1 | Default tag table | Bool | %M805.2 |  | True | True | True
Start 08:30 | Default tag table | Bool | %M805.3 |  | True | True | True
Start 12:30 | Default tag table | Bool | %M805.4 |  | True | True | True
Start 16:30 | Default tag table | Bool | %M805.5 |  | True | True | True
Start 20:30 | Default tag table | Bool | %M805.6 |  | True | True | True
Start 00:30 | Default tag table | Bool | %M805.7 |  | True | True | True
Start 04:30 | Default tag table | Bool | %M806.0 |  | True | True | True
Alarm Transfer More 1 | Default tag table | Bool | %M830.0 |  | True | True | True
Sw Reset Transfer T2 | Default tag table | Bool | %M840.0 |  | True | True | True
finish fho-t t2 | Default tag table | Bool | %M832.0 |  | True | True | True
finish sbo t2 | Default tag table | Bool | %M832.1 |  | True | True | True
Tag_30 | Default tag table | Bool | %M832.2 |  | True | True | True
Tag_31 | Default tag table | Bool | %M89.0 |  | True | True | True
Alarm high Low มีปัญหา | Default tag table | Bool | %M820.2 |  | True | True | True
Alarm Signal Low Twin | Default tag table | Bool | %M823.0 |  | True | True | True
Alarm Signal Low 215-1 | Default tag table | Bool | %M841.0 |  | True | True | True
Start 10:00 | Default tag table | Bool | %M801.2 |  | True | True | True
Start 14:00 | Default tag table | Bool | %M801.3 |  | True | True | True
Start 18:00 | Default tag table | Bool | %M801.4 |  | True | True | True
Start 22:00 | Default tag table | Bool | %M801.5 |  | True | True | True
Start 02:00 | Default tag table | Bool | %M801.6 |  | True | True | True
Start 06:00 | Default tag table | Bool | %M801.7 |  | True | True | True
Start 10:30 | Default tag table | Bool | %M806.1 |  | True | True | True
Start 14:30 | Default tag table | Bool | %M806.2 |  | True | True | True
Start 18:30 | Default tag table | Bool | %M806.3 |  | True | True | True
Start 22:30 | Default tag table | Bool | %M806.4 |  | True | True | True
Start 02:30 | Default tag table | Bool | %M806.5 |  | True | True | True
Start 06:30 | Default tag table | Bool | %M806.6 |  | True | True | True
Tag_25 | Default tag table | Bool | %M808.0 |  | True | True | True
Alarm แจ้งเตือนเช็คกรอง T2 | Default tag table | Bool | %M808.1 |  | True | True | True
Tag_32 | Default tag table | Bool | %M808.2 |  | True | True | True
Tag_33 | Default tag table | Bool | %M809.0 |  | True | True | True
Tag_34 | Default tag table | Bool | %M809.1 |  | True | True | True
Tag_35 | Default tag table | Bool | %M809.2 |  | True | True | True
Tag_36 | Default tag table | Bool | %M810.0 |  | True | True | True
Tag_37 | Default tag table | Bool | %M810.1 |  | True | True | True
Tag_39 | Default tag table | Bool | %M910.0 |  | True | True | True
Tag_40 | Default tag table | Bool | %M915.0 |  | True | True | True
Tag_41 | Default tag table | Bool | %M915.1 |  | True | True | True
Tag_42 | Default tag table | Bool | %M910.1 |  | True | True | True
Show Transfer more 1 | Default tag table | Bool | %M89.1 |  | True | True | True
Tag_44 | Default tag table | Bool | %M89.2 |  | True | True | True
Tag_45 | Default tag table | Bool | %M910.2 |  | True | True | True
Tag_26 | Default tag table | Bool | %M811.2 |  | True | True | True
Tag_46 | Default tag table | Bool | %M811.0 |  | True | True | True
Alarm แจ้งเตือนกรอง T1 | Default tag table | Bool | %M811.1 |  | True | True | True
Tag_48 | Default tag table | Bool | %M811.3 |  | True | True | True
Transfer more 1 SBO T2 | Default tag table | Bool | %M89.3 |  | True | True | True
Transfer more 1 FHO-T T2 | Default tag table | Bool | %M89.4 |  | True | True | True
Tag_43 | Default tag table | Bool | %M811.4 |  | True | True | True
Tag_47 | Default tag table | Bool | %M811.5 |  | True | True | True
Tag_49 | Default tag table | Bool | %M811.6 |  | True | True | True
Tag_50 | Default tag table | Bool | %M811.7 |  | True | True | True
Tag_51 | Default tag table | Bool | %M812.0 |  | True | True | True
Tag_52 | Default tag table | Bool | %M812.1 |  | True | True | True
Tag_53 | Default tag table | Bool | %M812.2 |  | True | True | True
Tag_54 | Default tag table | Bool | %M812.3 |  | True | True | True
EMERGENCY STOLZ A | Default tag table | Bool | %I0.0 |  | True | True | True
SATTUS INVERTOR FEEDER STOLZ | Default tag table | Word | %IW256 |  | True | True | True
ACTUAL FEEDER STOLZ | Default tag table | Int | %IW258 |  | True | True | True
PW STOLZ 3-HR Average Current | Default tag table | Real | %ID8 |  | True | True | True
PW STOLZ 3-HR Average volt | Default tag table | Real | %ID12 |  | True | True | True
PW STOLZ Act Ennergy Tar2 | Default tag table | Real | %ID54 |  | True | True | True
Tag_94 | Default tag table | Bool | %I400.0 |  | True | True | True
AI TEMP BEARIN_2 STOLZ | Default tag table | Int | %IW42 |  | True | True | True
TEMP HOUSING STOLZ1 | Default tag table | Int | %IW44 |  | True | True | True
CURRENTN FEEDER VAN | Default tag table | Int | %IW278 |  | True | True | True
ACTUAL HZ FEEDER VAN | Default tag table | Int | %IW282 |  | True | True | True
BREAKER TRIP FEEDER STOLZ | Default tag table | Bool | %I4.3 |  | True | True | True
CURRENT FEEDDER STOLZ | Default tag table | Int | %IW260 |  | True | True | True
ACTUAL HZ FEEDER STOLZ | Default tag table | Int | %IW264 |  | True | True | True
ADD BIN F2 | Default tag table | Bool | %I4671.1 |  | True | True | True
FLAP BOX Y50A2 R | Default tag table | Bool | %I2.0 |  | True | True | True
Slide Gate Y20 Open | Default tag table | Bool | %I240.4 |  | False | True | True
LS.Y50D2_R | Default tag table | Bool | %I7878.1 |  | True | True | True
Tag_63 | Default tag table | Bool | %I133.6 |  | True | True | True
Current M50C1 | Default tag table | Word | %IW298 |  | True | True | True
ACTUAL SPEED M50D1 | Default tag table | Int | %IW300 |  | True | True | True
CURRENT FEEDER M50D1 | Default tag table | Int | %IW302 |  | True | True | True
ACTUAL Hz FEEDER M50D1 | Default tag table | Int | %IW304 |  | True | True | True
Tag_229 | Default tag table | Bool | %I25.5 |  | True | True | True
Motion Bucket M48-1(1) | Default tag table | Bool | %I237.4 |  | True | True | True
Motion Bucket M48(2) | Default tag table | Bool | %I237.5 |  | True | True | True
Motion M50D5 | Default tag table | Bool | %I237.6 |  | True | True | True
Spare i237.7 | Default tag table | Bool | %I237.7 |  | True | True | True
Status M50C1 | Default tag table | Word | %IW286 |  | True | True | True
Actual RPM M50C1 | Default tag table | Int | %IW288 |  | True | True | True
Over Flow M50C7 | Default tag table | Bool | %I252.3 |  | True | True | True
Dumper M50b11 OPEN | Default tag table | Bool | %I252.4 |  | True | True | True
Dumper M50B11 CLOSE | Default tag table | Bool | %I252.5 |  | True | True | True
Tag_293 | Default tag table | Bool | %I2478.2 |  | True | True | True
Tag_337 | Default tag table | Bool | %I5333.3 |  | True | True | True
Slide Gate Y102 Close | Default tag table | Bool | %I231.2 |  | True | True | True
Low Level Bin F2 | Default tag table | Bool | %I231.3 |  | True | True | True
Low Level Bin F1 | Default tag table | Bool | %I231.4 |  | True | True | True
Low Level Bin F3 | Default tag table | Bool | %I231.5 |  | True | True | True
Low Level Bin F4 | Default tag table | Bool | %I231.6 |  | True | True | True
Low Level Bin F5 | Default tag table | Bool | %I231.7 |  | True | True | True
Tag_358 | Default tag table | Bool | %I358.0 |  | True | True | True
Tag_361 | Default tag table | Bool | %I325.5 |  | True | True | True
Flap Box YF10-2 FB Left | Default tag table | Bool | %I350.0 |  | True | True | True
Flap Box YF10-2 FB Right | Default tag table | Bool | %I350.1 |  | True | True | True
Data Power | Default tag table | Real | %ID102 |  | True | True | True
COMMAND INVERTOR FEEDER STOLZ | Default tag table | Word | %QW256 |  | True | True | True
SP_SPEED FEEDER STOLZ | Default tag table | Int | %QW258 |  | True | True | True
CMD_START FEEDER VAN | Default tag table | Int | %QW274 |  | True | True | True
CMD_INVERTOR FEEDER VAN | Default tag table | Word | %QW278 |  | True | True | True
Tag_92 | Default tag table | Bool | %Q300.0 |  | True | True | True
Tag_95 | Default tag table | Bool | %Q400.0 |  | True | True | True
SPEED FEEDER VAN | Default tag table | Int | %QW276 |  | True | True | True
Tag_113 | Default tag table | Bool | %Q5.0 |  | True | True | True
Open F1 Show Monomix | Default tag table | Bool | %Q4.2 |  | True | True | True
Tag_121 | Default tag table | Bool | %Q990.0 |  | True | True | True
Tag_122 | Default tag table | Bool | %Q990.1 |  | True | True | True
Tag_155 | Default tag table | Bool | %Q9.7 |  | True | True | True
COMAND RUN M50C1 | Default tag table | Word | %QW286 |  | True | True | True
SP.SPEED M50C1 | Default tag table | Int | %QW288 |  | True | True | True
SPEED OUT M50DA | Default tag table | Int | %QW262 |  | True | True | True
COMMAND TO INVERTOR M50D1 | Default tag table | Word | %QW260 |  | True | True | True
Air Jet Backfilter Van B | Default tag table | Bool | %Q209.0 |  | True | True | True
Coil Slide Gate Y29 | Default tag table | Bool | %Q209.1 |  | True | True | True
select Fwd Stolz B | Default tag table | Bool | %Q325.6 |  | True | True | True
select Rev Stolz B | Default tag table | Bool | %Q325.7 |  | True | True | True
Coil Slide Gate Y32 | Default tag table | Bool | %Q209.7 |  | True | True | True
Coil Slide Gate Y30 | Default tag table | Bool | %Q209.5 |  | True | True | True
Coil Slide Gate Y31 | Default tag table | Bool | %Q209.6 |  | True | True | True
Tag_369 | Default tag table | Bool | %Q209.2 |  | True | True | True
Tag_370 | Default tag table | Bool | %Q209.3 |  | True | True | True
Vibro F6 | Default tag table | Bool | %Q214.0 |  | True | True | True
Vibro F7 | Default tag table | Bool | %Q214.1 |  | True | True | True
Vibro F8 | Default tag table | Bool | %Q214.2 |  | True | True | True
Vibro F9 | Default tag table | Bool | %Q214.3 |  | True | True | True
Vibro ZC12 | Default tag table | Bool | %Q214.4 |  | True | True | True
Vibro ZC13 | Default tag table | Bool | %Q214.5 |  | True | True | True
Vibro ZC14 | Default tag table | Bool | %Q214.6 |  | True | True | True
Vibro ZC15 | Default tag table | Bool | %Q214.7 |  | True | True | True
Vibro ZC16 | Default tag table | Bool | %Q215.0 |  | True | True | True
Vibro ZC17 | Default tag table | Bool | %Q215.1 |  | True | True | True
Close F1 Show Monomix | Default tag table | Bool | %Q4.3 |  | True | True | True
Tag_1 | Default tag table | Bool | %M0.0 |  | True | True | True
Tag_2 | Default tag table | Bool | %M0.1 |  | True | True | True
HI_LEVEL BAG FITER | Default tag table | Bool | %M100.0 |  | True | True | True
HI_LEVEL F1 | Default tag table | Bool | %M100.1 |  | True | True | True
HI_LEVEL F2 | Default tag table | Bool | %M100.2 |  | True | True | True
HI_LEVEL HOPPER | Default tag table | Bool | %M100.3 |  | True | True | True
LOW_LEVEL F1 | Default tag table | Bool | %M100.4 |  | True | True | True
LOW_LEVEL F2 | Default tag table | Bool | %M100.5 |  | True | True | True
LOW_LEVEL HOPPER | Default tag table | Bool | %M100.6 |  | True | True | True
MAIN STOLZ REV. | Default tag table | Int | %MW20 |  | True | True | True
STATUS AIR IN JECT | Default tag table | Int | %MW22 |  | True | True | True
STATUS BACK COVER LIFT | Default tag table | Int | %MW24 |  | True | True | True
STATUS BACK COVER RIGHT | Default tag table | Int | %MW26 |  | True | True | True
STATUS MOTORBLOWER | Default tag table | Int | %MW50 |  | True | True | True
STATUS SLIDE F1 CLOSE | Default tag table | Int | %MW52 |  | True | True | True
STATUS SLIDE F1 SHOW CLOSE | Default tag table | Bool | %M100.7 |  | True | True | True
STATUS SLIDE F1 SHOW OPEN | Default tag table | Bool | %M101.0 |  | True | True | True
CMD M50B2 CLOSE | Default tag table | Bool | %M110.0 |  | True | True | True
CMD M50B2 FULL OPEN | Default tag table | Bool | %M110.1 |  | True | True | True
CMD M50B2 MIDDLE | Default tag table | Bool | %M110.2 |  | True | True | True
DUMPER CLOSE | Default tag table | Bool | %M110.3 |  | True | True | True
DUMPER FULL OPEN | Default tag table | Bool | %M110.4 |  | True | True | True
DUMPER MIDLE | Default tag table | Bool | %M110.5 |  | True | True | True
MANUAL AIR INJECT | Default tag table | Bool | %M110.6 |  | True | True | True
CMD HMI OPEN SLIDE F1 | Default tag table | Bool | %M110.7 |  | True | True | True
CMD HMI OPEN SLIDE F2 | Default tag table | Bool | %M111.0 |  | True | True | True
RESET M50B MAIN STOLZ | Default tag table | Bool | %M111.1 |  | True | True | True
RESET M50B1 FEEDER | Default tag table | Bool | %M111.2 |  | True | True | True
RESET M50B10 MOTOR BLOWER | Default tag table | Bool | %M111.3 |  | True | True | True
RESET M50B11 MOTOR DRUMPER | Default tag table | Bool | %M111.4 |  | True | True | True
RESET M50B2 MOTOR LAYER | Default tag table | Bool | %M111.5 |  | True | True | True
RESET M50B3 SCREW REJECT | Default tag table | Bool | %M111.6 |  | True | True | True
RESET M50B9 MOTOR BACK FILTOR | Default tag table | Bool | %M111.7 |  | True | True | True
RESET SLIDE F1 | Default tag table | Bool | %M112.0 |  | True | True | True
RESET SLIDE F2 | Default tag table | Bool | %M112.1 |  | True | True | True
START FWD_REV STOLZ | Default tag table | Bool | %M112.2 |  | True | True | True
START MAIN STOLZ | Default tag table | Bool | %M112.3 |  | True | True | True
START MOTOR BACK FITER | Default tag table | Bool | %M112.4 |  | True | True | True
START MOTOR BLOWER | Default tag table | Bool | %M112.5 |  | True | True | True
OPEN DUMPER | Default tag table | Bool | %M112.6 |  | True | True | True
START MOTOR SCREW FEEDER | Default tag table | Bool | %M112.7 |  | True | True | True
START MOTOR SCREW REJECT | Default tag table | Bool | %M113.0 |  | True | True | True
START MOTOR VIBRATOR F1 | Default tag table | Bool | %M113.1 |  | True | True | True
START MOTOR VIBRATOR F2 | Default tag table | Bool | %M113.2 |  | True | True | True
START REV.STOLZ | Default tag table | Bool | %M113.3 |  | True | True | True
% FEEDER STOLZ | Default tag table | Int | %MW150 |  | True | True | True
MAX CURENT MAIN STOLZ | Default tag table | Int | %MW152 |  | True | True | True
MIN CURENT MAIN STOLZ | Default tag table | Int | %MW154 |  | True | True | True
SP. CURENT MAIN STOLZ | Default tag table | Int | %MW156 |  | True | True | True
ACTUAL CURENT BLOWER | Default tag table | Real | %MD200 |  | True | True | True
ACTUAL CURENT FEEDER M50B1 | Default tag table | Real | %MD204 |  | True | True | True
ACTUAL CURENT MAIN STOLZ | Default tag table | Int | %MW333 |  | True | True | True
ACTUAL ENERGY FEEDER M50B1 | Default tag table | Real | %MD212 |  | True | True | True
ACTUAL FREQUENCY M50B1 | Default tag table | Real | %MD216 |  | True | True | True
ACTUAL SPEED FEEDER M50B | Default tag table | Real | %MD220 |  | True | True | True
ACTUAL TEMP BEARING 2 STOLZ | Default tag table | Real | %MD224 |  | True | True | True
ACTUAL TEMP BEARING1 STOLZ | Default tag table | Real | %MD228 |  | True | True | True
ACTUAL_ TEMP HOUSING_ STOLZ | Default tag table | Real | %MD232 |  | True | True | True
SP. MANUAL SPEED FEEDER STOLZ | Default tag table | Real | %MD236 |  | True | True | True
SP_TEMP BEARING1 | Default tag table | Real | %MD240 |  | True | True | True
SP_TEMP BEARING2 | Default tag table | Real | %MD244 |  | True | True | True
SP_TEMP HOUSING | Default tag table | Real | %MD248 |  | True | True | True
MODE INTER LOCK STOLZ | Default tag table | Bool | %M113.4 |  | True | True | True
MODE PID STOLZ | Default tag table | Bool | %M113.5 |  | True | True | True
PID TO FEEDER STOLZ | Default tag table | Real | %MD252 |  | True | True | True
STATUS SLIDE F1_F2 SHOW OPEN | Default tag table | Bool | %M101.1 |  | True | True | True
STATUS SIEVE LOCK STOLZ | Default tag table | Bool | %M800.0 |  | True | True | True
ALARM TEMP BEARING1 HI STOLZ | Default tag table | Bool | %M200.0 |  | True | True | True
ALARM TEMP2 HIGH STOLZ | Default tag table | Bool | %M200.2 |  | True | True | True
ALARM TEMP HOUSING STOLZ | Default tag table | Bool | %M200.3 |  | True | True | True
ALARM_HI_ CURENT STOLZ | Default tag table | Bool | %M200.4 |  | True | True | True
MODE AUTO_MANUAL STOLZ | Default tag table | Bool | %M113.6 |  | True | True | True
Tag_9 | Default tag table | Bool | %M1113.6 |  | True | True | True
System_Byte | Default tag table | Byte | %MB1 |  | True | True | True
FirstScan | Default tag table | Bool | %M1.0 |  | True | True | True
DiagStatusUpdate | Default tag table | Bool | %M1.1 |  | True | True | True
AlwaysTRUE | Default tag table | Bool | %M1.2 |  | True | True | True
AlwaysFALSE | Default tag table | Bool | %M1.3 |  | True | True | True
Clock_0.005 | Default tag table | Byte | %MB1000 |  | True | True | True
Clock_0.001Hz | Default tag table | Bool | %M1000.0 |  | True | True | True
Clock_5Hz | Default tag table | Bool | %M1000.1 |  | True | True | True
Clock_2.5Hz | Default tag table | Bool | %M1000.2 |  | True | True | True
Clock_2Hz | Default tag table | Bool | %M1000.3 |  | True | True | True
Clock_1.25Hz | Default tag table | Bool | %M1000.4 |  | True | True | True
Clock_1Hz | Default tag table | Bool | %M1000.5 |  | True | True | True
Clock_0.625Hz | Default tag table | Bool | %M1000.6 |  | True | True | True
Clock_0.01Hz | Default tag table | Bool | %M1000.7 |  | True | True | True
% FEEDER VAN | Default tag table | Int | %MW300 |  | True | True | True
MAX CURENT MAIN VAN | Default tag table | Int | %MW302 |  | True | True | True
MIN CURENT MAIN VAN | Default tag table | Int | %MW304 |  | True | True | True
SP. CURENT MAIN VAN | Default tag table | Int | %MW306 |  | True | True | True
ACTUAL CURENT BLOWER VAN | Default tag table | Real | %MD400 |  | True | True | True
ACTUAL CURENT FEEDER VAN | Default tag table | Real | %MD404 |  | True | True | True
ACTUAL CURENT MAIN VAN | Default tag table | Real | %MD408 |  | True | True | True
ACTUAL ENERGY FEEDER VAN | Default tag table | Real | %MD412 |  | True | True | True
ACTUAL FREQUENCY FEEDER VAN | Default tag table | Real | %MD416 |  | True | True | True
ACTUAL SPEED FEEDER VAN | Default tag table | Real | %MD420 |  | True | True | True
ACTUAL TEMP BEARING 1 VAN | Default tag table | Real | %MD424 |  | True | True | True
ACTUAL TEMP BEARING 2 VAN | Default tag table | Real | %MD428 |  | True | True | True
ACTUAL_ TEMP HOUSING_ LIFE _VAN | Default tag table | Real | %MD432 |  | True | True | True
ACTUAL_ TEMP HOUSING_ RIGHT_VAN | Default tag table | Real | %MD436 |  | True | True | True
SP. MANUAL SPEED FEEDER VAN | Default tag table | Real | %MD440 |  | True | True | True
SP_TEMP BEARING1 VAN | Default tag table | Real | %MD444 |  | True | True | True
SP_TEMP BEARING2 VAN | Default tag table | Real | %MD448 |  | True | True | True
SP_TEMP HOUSING_LIFE_VAN | Default tag table | Real | %MD452 |  | True | True | True
SP_TEMP HOUSING_RIGHT_VAN | Default tag table | Real | %MD456 |  | True | True | True
PID TO INVERTOR FEEDER VAN | Default tag table | Real | %MD460 |  | True | True | True
START FWD_REV VAN | Default tag table | Bool | %M120.0 |  | True | True | True
START MAIN VAN | Default tag table | Bool | %M120.1 |  | True | True | True
START MOTOR SCREW FEEDER VAN | Default tag table | Bool | %M120.2 |  | True | True | True
START MOTOR SCREW CHAIN VAN | Default tag table | Bool | %M120.3 |  | True | True | True
START MOTOR BLOWER VAN | Default tag table | Bool | %M120.4 |  | True | True | True
MANUAL AIR INJECT VAN | Default tag table | Bool | %M120.5 |  | True | True | True
CMD HMI OPEN SLIDE F3 | Default tag table | Bool | %M120.6 |  | True | True | True
CMD HMI OPEN SLIDE F4 | Default tag table | Bool | %M120.7 |  | True | True | True
CMD HMI OPEN SLIDE F5 | Default tag table | Bool | %M121.0 |  | True | True | True
MODE INTER LOCK VAN | Default tag table | Bool | %M121.1 |  | True | True | True
MODE PID VAN | Default tag table | Bool | %M121.2 |  | True | True | True
MODE AUTO_MANUAL VAN | Default tag table | Bool | %M121.3 |  | True | True | True
RESET MOTOR MAIN VAN | Default tag table | Bool | %M121.4 |  | True | True | True
RESET MOTOR SCREW FEEDER VAN | Default tag table | Bool | %M121.5 |  | True | True | True
RESET MOTOR SCREW CHAIN VAN | Default tag table | Bool | %M121.6 |  | True | True | True
RESET MOTOR BLOWER VAN | Default tag table | Bool | %M121.7 |  | True | True | True
RESET SLIDE F3 | Default tag table | Bool | %M122.0 |  | True | True | True
RESET SLIDE F4 | Default tag table | Bool | %M122.1 |  | True | True | True
RESET SLIDE F5 | Default tag table | Bool | %M122.2 |  | True | True | True
HI_LEVEL F3 | Default tag table | Bool | %M130.0 |  | True | True | True
HI_LEVEL F4 | Default tag table | Bool | %M130.1 |  | True | True | True
HI_LEVEL F5 | Default tag table | Bool | %M130.2 |  | True | True | True
LOW_LEVEL F3 | Default tag table | Bool | %M130.3 |  | True | True | True
LOW_LEVEL F4 | Default tag table | Bool | %M130.4 |  | True | True | True
LOW_LEVEL F5 | Default tag table | Bool | %M130.5 |  | True | True | True
HI_LEVEL HOPPER VAN | Default tag table | Bool | %M130.6 |  | True | True | True
LOW_LEVEL HOPPER VAN | Default tag table | Bool | %M130.7 |  | True | True | True
STATUS MAIN STOLZ REV _FWD VAN | Default tag table | Int | %MW308 |  | True | True | True
STATUS MAIN MOTOR VAN | Default tag table | Int | %MW310 |  | True | True | True
STATUS MOTOR VIBRATOR F3 | Default tag table | Int | %MW312 |  | True | True | True
STATUS MOTOR VIBRATOR F4 | Default tag table | Int | %MW314 |  | True | True | True
STATUS MOTOR VIBRATOR F5 | Default tag table | Int | %MW316 |  | True | True | True
STATUS MOTOR BLOWER VAN | Default tag table | Int | %MW318 |  | True | True | True
STATUS MOTOR FEEDR VAN | Default tag table | Int | %MW320 |  | True | True | True
STATUS MOTOR CHAIN VAN | Default tag table | Int | %MW322 |  | True | True | True
RESET MOTOR VIBRATOR F3 | Default tag table | Bool | %M122.3 |  | True | True | True
RESET MOTOR VIBRATOR F4 | Default tag table | Bool | %M122.4 |  | True | True | True
RESET MOTOR VIBRATOR F5 | Default tag table | Bool | %M122.5 |  | True | True | True
% FEEDER RUNING STOLZ | Default tag table | Int | %MW324 |  | True | True | True
% FEEDER RUNING VAN | Default tag table | Int | %MW326 |  | True | True | True
ALARM TEMP BEARING 1 VAN | Default tag table | Bool | %M250.0 |  | True | True | True
ALARM TEMP BEARING 2 VAN | Default tag table | Bool | %M250.1 |  | True | True | True
ALARM TEMP HOUSING LIFE VAN | Default tag table | Bool | %M250.2 |  | True | True | True
ALARM TEMP HOUSING RIGHT VAN | Default tag table | Bool | %M250.3 |  | True | True | True
HI CURRENT VAN | Default tag table | Bool | %M250.4 |  | True | True | True
CMD SIEVE LOCK LEFT VAN | Default tag table | Bool | %M700.1 |  | True | True | True
STATUS LIMIT LOCK LEFT VAN | Default tag table | Bool | %M700.2 |  | True | True | True
STATUS LIMIT UNLOCK LEFT VAN | Default tag table | Bool | %M700.3 |  | True | True | True
START AIR LOCK | Default tag table | Bool | %M113.7 |  | True | True | True
RESET AIR LOCK | Default tag table | Bool | %M114.0 |  | True | True | True
STATUS AIR LOCK | Default tag table | Int | %MW104 |  | True | True | True
START AIR LOCK BACK FILTER STOLZ | Default tag table | Bool | %M114.1 |  | True | True | True
RESET AIR LOCK BACK FILTER STOLZ | Default tag table | Bool | %M114.2 |  | True | True | True
SIEVE LOCK _UNLOCK VAN | Default tag table | Int | %MW328 |  | True | True | True
ERR LIMIT BACK LEFT VAN | Default tag table | Bool | %M700.4 |  | True | True | True
CMD SIEVE LOCK_UNLOCK STOLZ | Default tag table | Bool | %M114.3 |  | True | True | True
STATUS SIEVE UNLOCK STOLZ | Default tag table | Bool | %M800.1 |  | True | True | True
STATUS ERR. SIEVE | Default tag table | Bool | %M800.2 |  | True | True | True
SIEVE LOCK_UNLOCK STOLZ | Default tag table | Int | %MW330 |  | True | True | True
Tag_3 | Default tag table | Bool | %M900.0 |  | True | True | True
EER OPEN DRUMPER | Default tag table | Bool | %M901.0 |  | True | True | True
EER CLOSE DRUMPER | Default tag table | Bool | %M901.1 |  | True | True | True
STATUS DRUMPER | Default tag table | Int | %MW550 |  | True | True | True
DRUMPER EER SENSOR | Default tag table | Bool | %M901.2 |  | True | True | True
Tag_15 | Default tag table | Bool | %M990.0 |  | True | True | True
Tag_16 | Default tag table | Bool | %M990.1 |  | True | True | True
alarm motor air lock | Default tag table | Bool | %M990.2 |  | True | True | True
Tag_17 | Default tag table | Bool | %M330.0 |  | True | True | True
Tag_18 | Default tag table | Bool | %M600.0 |  | True | True | True
Tag_19 | Default tag table | Bool | %M670.0 |  | True | True | True
Tag_20 | Default tag table | Bool | %M680.0 |  | True | True | True
Tag_21 | Default tag table | Bool | %M680.1 |  | True | True | True
Tag_22 | Default tag table | Bool | %M680.2 |  | True | True | True
Tag_23 | Default tag table | Bool | %M680.3 |  | True | True | True
test(1) | Default tag table | Bool | %M690.4 |  | True | True | True
Tag_24 | Default tag table | Bool | %M670.6 |  | True | True | True
Tag_25 | Default tag table | Bool | %M690.5 |  | True | True | True
TEST2 | Default tag table | Bool | %M10.0 |  | True | True | True
Tag_26 | Default tag table | Bool | %M690.6 |  | True | True | True
ALARM SIEVE UNLOCK | Default tag table | Bool | %M200.5 |  | True | True | True
TEST BYPASS | Default tag table | Bool | %M960.7 |  | True | True | True
Tag_27 | Default tag table | Bool | %M691.0 |  | True | True | True
delay start M50B | Default tag table | Bool | %M691.1 |  | True | True | True
Tag_28 | Default tag table | Bool | %M691.2 |  | True | True | True
HMI_CMD MAGNET REJECT | Default tag table | Bool | %M12.0 |  | True | True | True
STOP OPEN MAGNET1 | Default tag table | Bool | %M12.1 |  | True | True | True
STOP CLOSE MAGNET | Default tag table | Bool | %M12.2 |  | True | True | True
STOP OPEN LAYER MAGNET | Default tag table | Bool | %M12.4 |  | True | True | True
Tag_30 | Default tag table | Bool | %M12.3 |  | True | True | True
STOP CLOSE LAYER MAGNET | Default tag table | Bool | %M12.5 |  | True | True | True
RESET DATA CAP STOLZ | Default tag table | Bool | %M888.0 |  | True | True | True
Tag_31 | Default tag table | Bool | %M691.5 |  | True | True | True
Tag_32 | Default tag table | Word | %MW522 |  | True | True | True
Tag_33 | Default tag table | Bool | %M8787.0 |  | True | True | True
Tag_34 | Default tag table | Real | %MD5500 |  | True | True | True
Show Annimateion feeder stolz | Default tag table | Bool | %M780.0 |  | True | True | True
sum line Slide Stolz | Default tag table | Bool | %M222.0 |  | True | True | True
Tag_36 | Default tag table | Bool | %M555.0 |  | True | True | True
Tag_37 | Default tag table | Bool | %M50.6 |  | True | True | True
Tag_38 | Default tag table | Bool | %M50.3 |  | True | True | True
Tag_39 | Default tag table | Bool | %M50.4 |  | True | True | True
CMD AUTO VAN | Default tag table | Bool | %M150.0 |  | True | True | True
Tag_40 | Default tag table | Bool | %M670.7 |  | True | True | True
Tag_41 | Default tag table | Bool | %M671.0 |  | True | True | True
Tag_42 | Default tag table | Bool | %M671.1 |  | True | True | True
DELAY START VAN | Default tag table | Bool | %M255.0 |  | True | True | True
Tag_43 | Default tag table | Word | %MW200 |  | True | True | True
CMD CLEAR MAGNET | Default tag table | Bool | %M750.0 |  | True | True | True
LAYER MAGNET OPEN | Default tag table | Bool | %M750.1 |  | True | True | True
Tag_44 | Default tag table | Bool | %M750.2 |  | True | True | True
MAGNET CLEAR OPEN | Default tag table | Bool | %M750.3 |  | True | True | True
Tag_45 | Default tag table | Bool | %M750.4 |  | True | True | True
CLOSE MAGNET | Default tag table | Bool | %M750.5 |  | True | True | True
CLOSE TO LAYER | Default tag table | Bool | %M750.6 |  | True | True | True
show grphics chain van | Default tag table | Bool | %M760.0 |  | True | True | True
MAGNET_LAYER OK | Default tag table | Bool | %M760.3 |  | True | True | True
LAYER_L_ CLOSE_OPEN | Default tag table | Bool | %M760.4 |  | True | True | True
LAYER_L_ OPEN | Default tag table | Bool | %M760.5 |  | True | True | True
LAYER_R_CLOSE_OPEN | Default tag table | Bool | %M760.6 |  | True | True | True
LAYER_R_OPEN | Default tag table | Bool | %M760.7 |  | True | True | True
MAGNET_L_CLOSE_OPEN | Default tag table | Bool | %M761.0 |  | True | True | True
MAGNET_R_OPEN | Default tag table | Bool | %M761.1 |  | True | True | True
MANET_R_CLOSE_OPEN | Default tag table | Bool | %M761.2 |  | True | True | True
MAGNET_R_OPEN(1) | Default tag table | Bool | %M761.3 |  | True | True | True
INTERLOCK AUTO VAN | Default tag table | Bool | %M762.0 |  | True | True | True
show annimation van | Default tag table | Bool | %M7623.0 |  | True | True | True
STATUS POSITION LOCK FRONT LEFT | Default tag table | Int | %MW400 |  | True | True | True
STATUS POSITION LOCK FRONT RIGHT | Default tag table | Int | %MW408 |  | True | True | True
STATUS POSITION LOCK BACK LEFT | Default tag table | Int | %MW404 |  | True | True | True
STATUS POSITION LOCK BACK RIGHT | Default tag table | Int | %MW412 |  | True | True | True
RESET DATA CAP VAN | Default tag table | Bool | %M888.1 |  | True | True | True
CLOSE DUMPER | Default tag table | Bool | %M115.0 |  | True | True | True
Tag_14 | Default tag table | Bool | %M7000.1 |  | True | True | True
Tag_50 | Default tag table | Bool | %M9000.4 |  | True | True | True
Tag_51 | Default tag table | DWord | %MD5000 |  | True | True | True
Tag_52 | Default tag table | DWord | %MD6000 |  | True | True | True
Tag_57 | Default tag table | Real | %MD700 |  | True | True | True
Tag_58 | Default tag table | Bool | %M7005.3 |  | True | True | True
Tag_59 | Default tag table | Bool | %M7006.0 |  | True | True | True
Tag_62 | Default tag table | Bool | %M7006.3 |  | True | True | True
inter lock mode(1) | Default tag table | Bool | %M2500.0 |  | True | True | True
Tag_64 | Default tag table | Bool | %M2500.2 |  | True | True | True
Tag_65 | Default tag table | Bool | %M400.0 |  | True | True | True
Tag_66 | Default tag table | Bool | %M11100.0 |  | True | True | True
Tag_67 | Default tag table | Bool | %M1100.2 |  | True | True | True
Tag_68 | Default tag table | Bool | %M1100.7 |  | True | True | True
Tag_69 | Default tag table | Bool | %M1212.0 |  | True | True | True
Tag_77 | Default tag table | Bool | %M1300.7 |  | True | True | True
Tag_78 | Default tag table | Bool | %M23230.0 |  | True | True | True
Tag_79 | Default tag table | Bool | %M4500.0 |  | True | True | True
BLOCK | Default tag table | Bool | %M2555.0 |  | True | True | True
Tag_96 | Default tag table | Bool | %M56562.0 |  | True | True | True
Tag_97 | Default tag table | Bool | %M3636.0 |  | True | True | True
Tag_98 | Default tag table | Bool | %M7000.0 |  | True | True | True
Tag_99 | Default tag table | Bool | %M5652.0 |  | True | True | True
Tag_100 | Default tag table | Bool | %M8700.0 |  | True | True | True
Tag_101 | Default tag table | Bool | %M6520.0 |  | True | True | True
Tag_103 | Default tag table | Bool | %M8000.0 |  | True | True | True
Tag_104 | Default tag table | Bool | %M6565.3 |  | True | True | True
Motor Runing | Default tag table | Bool | %M5555.0 |  | True | True | True
Tag_106 | Default tag table | Bool | %M444.0 |  | True | True | True
TEST 1 | Default tag table | Bool | %M3000.0 |  | True | True | True
TEST2(1) | Default tag table | Bool | %M3000.1 |  | True | True | True
TEST3 | Default tag table | Bool | %M3000.2 |  | True | True | True
TEST 4 | Default tag table | Bool | %M3000.4 |  | True | True | True
TEST5 | Default tag table | Bool | %M3000.5 |  | True | True | True
TEST6 | Default tag table | Bool | %M3000.6 |  | True | True | True
Tag_107 | Default tag table | Bool | %M3001.0 |  | True | True | True
TEST SYSTEM | Default tag table | Bool | %M3002.2 |  | True | True | True
TEST PID | Default tag table | Bool | %M466.0 |  | True | True | True
Tag_109 | Default tag table | Bool | %M675.0 |  | True | True | True
Tag_110 | Default tag table | Bool | %M675.1 |  | True | True | True
Tag_111 | Default tag table | Bool | %M675.2 |  | True | True | True
Tag_112 | Default tag table | DWord | %MD1200 |  | True | True | True
% FEEDER VAN(1) | Default tag table | Int | %MW1200 |  | True | True | True
enable test pid | Default tag table | Bool | %M6000.0 |  | True | True | True
TEST PID STOLZ | Default tag table | Bool | %M466.1 |  | True | True | True
CAL_DATA 1 | Default tag table | DWord | %MD4200 |  | True | True | True
CMD PID FEEDER VAN | Default tag table | Bool | %M422.0 |  | True | True | True
Tag_114 | Default tag table | Bool | %M156.0 |  | True | True | True
CMD PID FEEDER STOLZ | Default tag table | Bool | %M422.1 |  | True | True | True
Tag_115 | Default tag table | Bool | %M156.1 |  | True | True | True
Tag_108 | Default tag table | Bool | %M422.6 |  | True | True | True
MANTENACE MODE STOLZ | Default tag table | Bool | %M1111.0 |  | True | True | True
Tag_116 | Default tag table | Bool | %M11111.0 |  | True | True | True
MAINTENANCE MODE VAN | Default tag table | Bool | %M1111.1 |  | True | True | True
Tag_117 | Default tag table | Bool | %M11111.1 |  | True | True | True
Tag_118 | Default tag table | Bool | %M11111.5 |  | True | True | True
Tag_119 | Default tag table | Bool | %M450.0 |  | True | True | True
Tag_120 | Default tag table | Bool | %M450.1 |  | True | True | True
Tag_4 | Default tag table | Bool | %M450.3 |  | True | True | True
Tag_5 | Default tag table | Bool | %M450.2 |  | True | True | True
sum line Slide Van | Default tag table | Bool | %M222.1 |  | True | True | True
animation M50B7 | Default tag table | Bool | %M790.0 |  | True | True | True
Tag_102 | Default tag table | Bool | %M50.0 |  | True | True | True
STATUS LIMIT LOCK RIGHT VAN | Default tag table | Bool | %M700.5 |  | True | True | True
STATUS LIMIT UNLOCK RIGHT VAN | Default tag table | Bool | %M700.6 |  | True | True | True
CMD SIEVE LOCK RIGHT VAN | Default tag table | Bool | %M700.7 |  | True | True | True
ERR LIMIT BACK RIGHT VAN | Default tag table | Bool | %M701.0 |  | True | True | True
ERR LIMIT FRONT RIGHT VAN | Default tag table | Bool | %M701.1 |  | True | True | True
ERR LIMIT FRONT LEFT VAN | Default tag table | Bool | %M701.2 |  | True | True | True
Tag_123 | Default tag table | Bool | %M550.0 |  | True | True | True
Tag_124 | Default tag table | Bool | %M550.1 |  | True | True | True
Tag_125 | Default tag table | Bool | %M550.2 |  | True | True | True
Tag_126 | Default tag table | Bool | %M550.3 |  | True | True | True
Tag_127 | Default tag table | Bool | %M550.4 |  | True | True | True
Tag_128 | Default tag table | Bool | %M551.0 |  | True | True | True
Tag_129 | Default tag table | Bool | %M551.1 |  | True | True | True
Tag_130 | Default tag table | Bool | %M551.2 |  | True | True | True
Tag_131 | Default tag table | Bool | %M550.5 |  | True | True | True
Tag_132 | Default tag table | Bool | %M551.3 |  | True | True | True
Tag_133 | Default tag table | Bool | %M552.0 |  | True | True | True
Tag_134 | Default tag table | Bool | %M552.1 |  | True | True | True
Tag_135 | Default tag table | Bool | %M552.2 |  | True | True | True
Tag_136 | Default tag table | Bool | %M552.3 |  | True | True | True
Tag_137 | Default tag table | Bool | %M553.0 |  | True | True | True
Tag_138 | Default tag table | Bool | %M553.1 |  | True | True | True
Tag_139 | Default tag table | Bool | %M560.0 |  | True | True | True
Tag_140 | Default tag table | Bool | %M4656.0 |  | True | True | True
Tag_141 | Default tag table | Int | %MW4520 |  | True | True | True
Tag_142 | Default tag table | Bool | %M4656.1 |  | True | True | True
HI BIN F3 | Default tag table | Bool | %M4670.0 |  | True | True | True
ADD BIN F3 | Default tag table | Bool | %M4670.1 |  | True | True | True
HI BIN F4 | Default tag table | Bool | %M4670.2 |  | True | True | True
ADD BIN F4 | Default tag table | Bool | %M4670.3 |  | True | True | True
HI BIN F5 | Default tag table | Bool | %M4670.4 |  | True | True | True
ADD BIN F5 | Default tag table | Bool | %M4670.5 |  | True | True | True
HI BIN F1 | Default tag table | Bool | %M4670.6 |  | True | True | True
ADD BIN F1 | Default tag table | Bool | %M4670.7 |  | True | True | True
HI BIN F2 | Default tag table | Bool | %M4671.0 |  | True | True | True
status tank F3 | Default tag table | Int | %MW210 |  | True | True | True
Tag_143 | Default tag table | DWord | %MD210 |  | True | True | True
Reset all van | Default tag table | Bool | %M290.0 |  | True | True | True
Tag_145 | Default tag table | Bool | %M290.1 |  | True | True | True
Tag_146 | Default tag table | Bool | %M290.2 |  | True | True | True
Tag_144 | Default tag table | Int | %MW4524 |  | True | True | True
Reset all stolz | Default tag table | Bool | %M291.0 |  | True | True | True
Tag_147 | Default tag table | Bool | %M291.1 |  | True | True | True
Tag_148 | Default tag table | Bool | %M291.2 |  | True | True | True
status tank F4 | Default tag table | Int | %MW212 |  | True | True | True
status tank F5 | Default tag table | Int | %MW214 |  | True | True | True
Tag_149 | Default tag table | DWord | %MD320 |  | True | True | True
Tag_150 | Default tag table | DWord | %MD322 |  | True | True | True
Tag_151 | Default tag table | Bool | %M790.1 |  | True | True | True
Tag_10 | Default tag table | Int | %MW450 |  | True | True | True
Statusmotor M34 | Default tag table | Int | %MW699 |  | True | True | True
Tag_11 | Default tag table | Bool | %M801.0 |  | True | True | True
Tag_152 | Default tag table | Bool | %M801.2 |  | True | True | True
Tag_153 | Default tag table | Bool | %M801.3 |  | True | True | True
Tag_154 | Default tag table | Bool | %M801.4 |  | True | True | True
status tank F1 | Default tag table | Int | %MW216 |  | True | True | True
status tank F2 | Default tag table | Int | %MW218 |  | True | True | True
Tag_156 | Default tag table | Bool | %M4556.0 |  | True | True | True
Tag_8 | Default tag table | Bool | %M4599.0 |  | True | True | True
sw start step1 | Default tag table | Bool | %M720.0 |  | True | True | True
Tag_157 | Default tag table | Bool | %M610.0 |  | True | True | True
Tag_158 | Default tag table | Bool | %M790.2 |  | True | True | True
Tag_159 | Default tag table | Bool | %M791.0 |  | True | True | True
Tag_160 | Default tag table | Bool | %M445.0 |  | True | True | True
Tag_161 | Default tag table | Bool | %M791.1 |  | True | True | True
Tag_162 | Default tag table | Bool | %M500.0 |  | True | True | True
Tag_163 | Default tag table | Bool | %M791.2 |  | True | True | True
Tag_164 | Default tag table | Bool | %M791.3 |  | True | True | True
Tag_165 | Default tag table | Bool | %M470.0 |  | True | True | True
Tag_166 | Default tag table | Int | %MW570 |  | True | True | True
Tag_167 | Default tag table | Bool | %M553.4 |  | True | True | True
Tag_168 | Default tag table | Bool | %M553.5 |  | True | True | True
Tag_169 | Default tag table | Word | %MW555 |  | True | True | True
Tag_170 | Default tag table | Bool | %M671.2 |  | True | True | True
DELAY START VANN | Default tag table | Bool | %M255.1 |  | True | True | True
Tag_171 | Default tag table | Bool | %M257.0 |  | True | True | True
DELAY TIME START | Default tag table | Bool | %M258.0 |  | True | True | True
Tag_172 | Default tag table | Bool | %M460.0 |  | True | True | True
Tag_173 | Default tag table | Word | %MW572 |  | True | True | True
Tag_174 | Default tag table | Word | %MW574 |  | True | True | True
Tag_175 | Default tag table | Word | %MW576 |  | True | True | True
Tag_176 | Default tag table | Word | %MW578 |  | True | True | True
Tag_177 | Default tag table | Bool | %M191.0 |  | True | True | True
Tag_178 | Default tag table | Bool | %M191.1 |  | True | True | True
Tag_179 | Default tag table | Bool | %M480.0 |  | True | True | True
Tag_180 | Default tag table | Bool | %M291.6 |  | True | True | True
Tag_181 | Default tag table | Bool | %M672.0 |  | True | True | True
Tag_182 | Default tag table | Bool | %M755.0 |  | True | True | True
Tag_183 | Default tag table | Bool | %M6666.0 |  | True | True | True
Tag_184 | Default tag table | Bool | %M623.0 |  | True | True | True
Move Motion _M8 | Default tag table | DWord | %MD500 |  | True | True | True
Move_Motion M20 | Default tag table | DWord | %MD510 |  | True | True | True
Move_Motion M8-1 | Default tag table | DWord | %MD520 |  | True | True | True
Tag_185 | Default tag table | Bool | %M320.0 |  | True | True | True
Move_Motion M26 | Default tag table | DWord | %MD530 |  | True | True | True
Tag_186 | Default tag table | Bool | %M999.0 |  | True | True | True
Tag_187 | Default tag table | Bool | %M999.1 |  | True | True | True
Tag_188 | Default tag table | Bool | %M999.2 |  | True | True | True
Move Motion M19 | Default tag table | DWord | %MD550 |  | True | True | True
Tag_6 | Default tag table | Bool | %M6001.2 |  | True | True | True
Initial_Parameter_Siwarex_Card_Group | Default tag table | Bool | %M1500.0 |  | True | True | True
Tag_196 | Default tag table | Bool | %M41110.0 |  | True | True | True
Tag_105 | Default tag table | DWord | %MD110 |  | True | True | True
Tag_197 | Default tag table | DWord | %MD112 |  | True | True | True
Tag_198 | Default tag table | DWord | %MD104 |  | True | True | True
Tag_199 | Default tag table | DWord | %MD106 |  | True | True | True
Tag_200 | Default tag table | DWord | %MD108 |  | True | True | True
Tag_201 | Default tag table | DWord | %MD120 |  | True | True | True
Tag_202 | Default tag table | DWord | %MD150 |  | True | True | True
Tag_203 | Default tag table | Int | %MW800 |  | True | True | True
Tag_204 | Default tag table | DWord | %MD852 |  | True | True | True
Tag_205 | Default tag table | DWord | %MD250 |  | True | True | True
Tag_206 | Default tag table | DWord | %MD4222 |  | True | True | True
Tag_207 | Default tag table | DWord | %MD10 |  | True | True | True
Tag_208 | Default tag table | DWord | %MD12 |  | True | True | True
Tag_209 | Default tag table | DWord | %MD14 |  | True | True | True
Tag_210 | Default tag table | DWord | %MD16 |  | True | True | True
Tag_211 | Default tag table | Bool | %M1200.0 |  | True | True | True
Tag_212 | Default tag table | Bool | %M1200.1 |  | True | True | True
Tag_213 | Default tag table | Int | %MW230 |  | True | True | True
Tag_215 | Default tag table | Bool | %M422.7 |  | True | True | True
Delay Time Stop Van B | Default tag table | Bool | %M260.0 |  | True | True | True
Tag_216 | Default tag table | Bool | %M666.0 |  | True | True | True
Tag_217 | Default tag table | Bool | %M666.1 |  | True | True | True
Tag_218 | Default tag table | Bool | %M666.2 |  | True | True | True
Tag_219 | Default tag table | Bool | %M666.3 |  | True | True | True
Tag_220 | Default tag table | Bool | %M666.4 |  | True | True | True
Tag_221 | Default tag table | Bool | %M666.5 |  | True | True | True
Tag_222 | Default tag table | Bool | %M666.6 |  | True | True | True
Tag_223 | Default tag table | Bool | %M666.7 |  | True | True | True
Tag_224 | Default tag table | Bool | %M667.0 |  | True | True | True
Tag_225 | Default tag table | Bool | %M667.1 |  | True | True | True
Tag_226 | Default tag table | Bool | %M6667.2 |  | True | True | True
Tag_227 | Default tag table | Bool | %M668.0 |  | True | True | True
Tag_228 | Default tag table | Bool | %M667.7 |  | True | True | True
Tag_230 | Default tag table | Bool | %M4200.0 |  | True | True | True
Complete ZC3_ZC11 | Default tag table | Bool | %M5550.0 |  | True | True | True
Tag_214 | Default tag table | Bool | %M8000.1 |  | True | True | True
Tag_231 | Default tag table | Bool | %M8000.7 |  | True | True | True
Tag_232 | Default tag table | Bool | %M8000.5 |  | True | True | True
Tag_233 | Default tag table | Bool | %M6300.0 |  | True | True | True
Tag_234 | Default tag table | Bool | %M63000.1 |  | True | True | True
Tag_235 | Default tag table | Bool | %M6300.1 |  | True | True | True
Tag_236 | Default tag table | Bool | %M6300.2 |  | True | True | True
Tag_237 | Default tag table | Bool | %M6300.3 |  | True | True | True
Tag_238 | Default tag table | Bool | %M7800.1 |  | True | True | True
Interlock Stolz A | Default tag table | Bool | %M8500.0 |  | True | True | True
Hi Current Main Stop Feed M50B1 | Default tag table | Bool | %M8500.2 |  | True | True | True
Tag_239 | Default tag table | Bool | %M8500.3 |  | True | True | True
Tag_240 | Default tag table | Bool | %M8500.6 |  | True | True | True
Tag_241 | Default tag table | Bool | %M4440.0 |  | True | True | True
Tag_242 | Default tag table | Bool | %M4444.0 |  | True | True | True
Tag_243 | Default tag table | Bool | %M4444.1 |  | True | True | True
Tag_244 | Default tag table | Bool | %M4444.2 |  | True | True | True
Tag_245 | Default tag table | Bool | %M4444.3 |  | True | True | True
Tag_246 | Default tag table | Bool | %M4444.5 |  | True | True | True
Tag_247 | Default tag table | Bool | %M425.0 |  | True | True | True
Delay Start M50C | Default tag table | Bool | %M425.1 |  | True | True | True
Tag_249 | Default tag table | Bool | %M426.0 |  | True | True | True
Tag_250 | Default tag table | Bool | %M9999.0 |  | True | True | True
Tag_251 | Default tag table | Bool | %M8888.0 |  | True | True | True
SLIDE Y222 OPEN | Default tag table | Bool | %M333.0 |  | True | True | True
SLIDE Y222 CLOSE | Default tag table | Bool | %M333.1 |  | True | True | True
Tag_253 | Default tag table | Bool | %M333.7 |  | True | True | True
TEST CMD LOG | Default tag table | Bool | %M333.6 |  | True | True | True
Tag_252 | Default tag table | Bool | %M333.5 |  | True | True | True
Tag_254 | Default tag table | Bool | %M334.0 |  | True | True | True
Tag_255 | Default tag table | Bool | %M334.1 |  | True | True | True
Tag_256 | Default tag table | Bool | %M334.2 |  | True | True | True
Tag_257 | Default tag table | Bool | %M334.3 |  | True | True | True
Tag_258 | Default tag table | Bool | %M334.4 |  | True | True | True
Tag_259 | Default tag table | Bool | %M334.5 |  | True | True | True
Tag_260 | Default tag table | Bool | %M334.6 |  | True | True | True
Tag_261 | Default tag table | Bool | %M334.7 |  | True | True | True
Tag_262 | Default tag table | Bool | %M335.0 |  | True | True | True
Tag_263 | Default tag table | Bool | %M335.2 |  | True | True | True
Tag_264 | Default tag table | Bool | %M335.3 |  | True | True | True
Tag_265 | Default tag table | Bool | %M336.0 |  | True | True | True
Tag_266 | Default tag table | Bool | %M338.0 |  | True | True | True
Tag_267 | Default tag table | Bool | %M1888.0 |  | True | True | True
Tag_268 | Default tag table | Bool | %M1888.1 |  | True | True | True
Tag_269 | Default tag table | DWord | %MD1889 |  | True | True | True
Tag_270 | Default tag table | Bool | %M1888.2 |  | True | True | True
Tag_271 | Default tag table | Real | %MD18890 |  | True | True | True
Tag_272 | Default tag table | Word | %MW18895 |  | True | True | True
Tag_273 | Default tag table | Word | %MW1999 |  | True | True | True
Tag_274 | Default tag table | Bool | %M7999.0 |  | True | True | True
Tag_275 | Default tag table | Bool | %M777.7 |  | True | True | True
Tag_276 | Default tag table | Bool | %M1400.0 |  | True | True | True
Tag_277 | Default tag table | Bool | %M888.5 |  | True | True | True
Tag_278 | Default tag table | Bool | %M999.5 |  | True | True | True
Tag_279 | Default tag table | Bool | %M999.6 |  | True | True | True
Tag_280 | Default tag table | Bool | %M1400.1 |  | True | True | True
Tag_281 | Default tag table | Bool | %M5000.0 |  | True | True | True
Tag_282 | Default tag table | Bool | %M1400.5 |  | True | True | True
Tag_283 | Default tag table | Bool | %M1400.7 |  | True | True | True
Tag_284 | Default tag table | Bool | %M1400.6 |  | True | True | True
Tag_285 | Default tag table | DWord | %MD63200 |  | True | True | True
Tag_286 | Default tag table | Word | %MW5860 |  | True | True | True
Tag_287 | Default tag table | DWord | %MD5652 |  | True | True | True
Tag_288 | Default tag table | Word | %MW552 |  | True | True | True
Tag_289 | Default tag table | Bool | %M6001.6 |  | True | True | True
Tag_290 | Default tag table | Bool | %M3420.0 |  | True | True | True
Tag_291 | Default tag table | Bool | %M6002.1 |  | True | True | True
Tag_292 | Default tag table | Bool | %M8856.0 |  | True | True | True
Tag_294 | Default tag table | Bool | %M800.5 |  | True | True | True
Tag_295 | Default tag table | Bool | %M890.5 |  | True | True | True
Tag_296 | Default tag table | Bool | %M858.0 |  | True | True | True
Hi Current Main Stop Feed M50A1 | Default tag table | Bool | %M8500.5 |  | True | True | True
Tag_297 | Default tag table | Bool | %M1822.0 |  | True | True | True
cmd Slide F3 HMI | Default tag table | Bool | %M880.0 |  | True | True | True
cmd Slide F4 HMI | Default tag table | Bool | %M880.1 |  | True | True | True
cmd Slide F5 HMI | Default tag table | Bool | %M880.2 |  | True | True | True
cmd Slide F1 HMI | Default tag table | Bool | %M880.3 |  | True | True | True
cmd Slide F2 HMI | Default tag table | Bool | %M880.4 |  | True | True | True
Tag_298 | Default tag table | Bool | %M880.5 |  | True | True | True
Tag_299 | Default tag table | Bool | %M881.0 |  | True | True | True
Tag_300 | Default tag table | Bool | %M881.1 |  | True | True | True
Tag_301 | Default tag table | Bool | %M881.2 |  | True | True | True
Tag_302 | Default tag table | Bool | %M881.3 |  | True | True | True
Tag_303 | Default tag table | Bool | %M881.4 |  | True | True | True
Tag_304 | Default tag table | Bool | %M881.5 |  | True | True | True
Sw Start M50B7 | Default tag table | Bool | %M882.0 |  | True | True | True
Tag_306 | Default tag table | Bool | %M882.1 |  | True | True | True
Tag_307 | Default tag table | Bool | %M882.2 |  | True | True | True
Tag_308 | Default tag table | Bool | %M883.0 |  | True | True | True
Tag_309 | Default tag table | Bool | %M883.1 |  | True | True | True
Tag_310 | Default tag table | Bool | %M883.2 |  | True | True | True
Hmi Mode Interlock Stolz A | Default tag table | Bool | %M885.0 |  | True | True | True
Tag_305 | Default tag table | Bool | %M883.3 |  | True | True | True
Tag_312 | Default tag table | Bool | %M883.4 |  | True | True | True
Tag_313 | Default tag table | Bool | %M883.5 |  | True | True | True
Tag_314 | Default tag table | Bool | %M883.6 |  | True | True | True
Tag_315 | Default tag table | Bool | %M883.7 |  | True | True | True
Tag_316 | Default tag table | Bool | %M884.0 |  | True | True | True
Tag_317 | Default tag table | Bool | %M884.1 |  | True | True | True
Tag_318 | Default tag table | Bool | %M884.2 |  | True | True | True
Tag_319 | Default tag table | Bool | %M884.3 |  | True | True | True
Tag_320 | Default tag table | Bool | %M884.4 |  | True | True | True
Tag_321 | Default tag table | Bool | %M762.3 |  | True | True | True
Hmi Mode Interlock Van A | Default tag table | Bool | %M889.0 |  | True | True | True
Tag_323 | Default tag table | Bool | %M884.5 |  | True | True | True
Tag_324 | Default tag table | Bool | %M884.6 |  | True | True | True
Tag_325 | Default tag table | Bool | %M884.7 |  | True | True | True
Tag_326 | Default tag table | Bool | %M885.1 |  | True | True | True
Tag_327 | Default tag table | Bool | %M885.2 |  | True | True | True
Tag_328 | Default tag table | Bool | %M885.3 |  | True | True | True
Tag_329 | Default tag table | Bool | %M885.4 |  | True | True | True
Tag_330 | Default tag table | Word | %MW4620 |  | True | True | True
Tag_331 | Default tag table | Word | %MW56322 |  | True | True | True
Tag_332 | Default tag table | Bool | %M886.0 |  | True | True | True
Tag_333 | Default tag table | Bool | %M886.1 |  | True | True | True
Tag_311 | Default tag table | Bool | %M887.0 |  | True | True | True
Tag_322 | Default tag table | Bool | %M887.1 |  | True | True | True
Tag_334 | Default tag table | Bool | %M888.7 |  | True | True | True
Tag_335 | Default tag table | Bool | %M889.2 |  | True | True | True
Tag_336 | Default tag table | Bool | %M889.3 |  | True | True | True
Tag_338 | Default tag table | Bool | %M6800.0 |  | True | True | True
Tag_344 | Default tag table | Bool | %M6969.0 |  | True | True | True
Tag_345 | Default tag table | Bool | %M9969.0 |  | True | True | True
Tag_346 | Default tag table | Bool | %M5696.0 |  | True | True | True
Tag_347 | Default tag table | Bool | %M7800.0 |  | True | True | True
Tag_348 | Default tag table | Bool | %M7800.2 |  | True | True | True
Tag_349 | Default tag table | Bool | %M7800.3 |  | True | True | True
Low Current Main Run Feed M50A1 | Default tag table | Bool | %M8502.0 |  | True | True | True
Tag_339 | Default tag table | Bool | %M7777.0 |  | True | True | True
Tag_350 | Default tag table | Bool | %M777.1 |  | True | True | True
Tag_351 | Default tag table | Bool | %M777.2 |  | True | True | True
Tag_352 | Default tag table | Bool | %M777.3 |  | True | True | True
Tag_353 | Default tag table | Bool | %M777.4 |  | True | True | True
Tag_354 | Default tag table | Bool | %M777.5 |  | True | True | True
Tag_355 | Default tag table | Bool | %M7777.7 |  | True | True | True
Tag_356 | Default tag table | Bool | %M7778.0 |  | True | True | True
Tag_357 | Default tag table | Bool | %M7778.3 |  | True | True | True
Tag_359 | Default tag table | Bool | %M840.0 |  | True | True | True
Tag_360 | Default tag table | Bool | %M770.0 |  | True | True | True
Tag_362 | Default tag table | Bool | %M8000.6 |  | True | True | True
Tag_363 | Default tag table | Bool | %M7801.0 |  | True | True | True
Tag_364 | Default tag table | Bool | %M7805.0 |  | True | True | True
Tag_367 | Default tag table | Bool | %M7806.0 |  | True | True | True
Tag_368 | Default tag table | Bool | %M7806.1 |  | True | True | True
Tag_340 | Default tag table | Bool | %M8989.0 |  | True | True | True
Tag_12 | Default tag table | Bool | %M8565.0 |  | True | True | True
Tag_13 | Default tag table | Bool | %M8556.7 |  | True | True | True
Hi Current Main Stop Feed M50D1 | Default tag table | Bool | %M8501.0 |  | True | True | True
Tag_29 | Default tag table | Bool | %M7779.0 |  | True | True | True
Tag_35 | Default tag table | Bool | %M7779.1 |  | True | True | True
Tag_46 | Default tag table | Bool | %M8693.0 |  | True | True | True
Tag_47 | Default tag table | Bool | %M8693.1 |  | True | True | True
Tag_48 | Default tag table | Bool | %M4442.0 |  | True | True | True
Tag_49 | Default tag table | Bool | %M4442.1 |  | True | True | True
Tag_53 | Default tag table | Bool | %M4442.3 |  | True | True | True
Tag_56 | Default tag table | Bool | %M7880.0 |  | True | True | True
Tag_60 | Default tag table | Bool | %M7880.1 |  | True | True | True
Hi Current Main Stop Feed M50C1 | Default tag table | Bool | %M8501.3 |  | True | True | True
Hi Current Main RUN Feed M50C1 | Default tag table | Bool | %M8501.4 |  | True | True | True
Tag_55 | Default tag table | Bool | %M950.0 |  | True | True | True
Tag_61 | Default tag table | Bool | %M950.1 |  | True | True | True
Tag_70 | Default tag table | Bool | %M950.2 |  | True | True | True
Tag_71 | Default tag table | Bool | %M580.0 |  | True | True | True
Tag_72 | Default tag table | Bool | %M950.3 |  | True | True | True
Tag_73 | Default tag table | DInt | %MD6166 |  | True | True | True
Tag_74 | Default tag table | Bool | %M580.1 |  | True | True | True
Tag_75 | Default tag table | Bool | %M950.4 |  | True | True | True
Tag_76 | Default tag table | Bool | %M580.2 |  | True | True | True
Tag_80 | Default tag table | Bool | %M950.5 |  | True | True | True
Tag_81 | Default tag table | Bool | %M580.3 |  | True | True | True
Tag_82 | Default tag table | Bool | %M950.6 |  | True | True | True
Tag_83 | Default tag table | DInt | %MD6170 |  | True | True | True
Tag_84 | Default tag table | Bool | %M7701.0 |  | True | True | True
Tag_85 | Default tag table | Bool | %M6701.2 |  | True | True | True
Tag_86 | Default tag table | Bool | %M6701.4 |  | True | True | True
Tag_87 | Default tag table | DInt | %MD6120 |  | True | True | True
Tag_88 | Default tag table | Bool | %M6540.1 |  | True | True | True
Tag_89 | Default tag table | Bool | %M6540.2 |  | True | True | True
Tag_90 | Default tag table | Bool | %M5656.0 |  | True | True | True
Tag_91 | Default tag table | Bool | %M6565.5 |  | True | True | True
Tag_93 | Default tag table | Bool | %M5656.2 |  | True | True | True
Tag_189 | Default tag table | Bool | %M5656.3 |  | True | True | True
Tag_190 | Default tag table | Bool | %M5656.4 |  | True | True | True
Tag_191 | Default tag table | Bool | %M5656.5 |  | True | True | True
Tag_192 | Default tag table | Bool | %M5656.6 |  | True | True | True
Tag_193 | Default tag table | Bool | %M5657.0 |  | True | True | True
Tag_194 | Default tag table | Bool | %M5657.1 |  | True | True | True
Tag_195 | Default tag table | Bool | %M6555.0 |  | True | True | True
Tag_248 | Default tag table | Bool | %M6555.1 |  | True | True | True
Tag_341 | Default tag table | Bool | %M5671.0 |  | True | True | True
Tag_342 | Default tag table | Bool | %M5671.2 |  | True | True | True
Tag_343 | Default tag table | Bool | %M5658.0 |  | True | True | True
Tag_371 | Default tag table | Bool | %M3200.0 |  | True | True | True
Tag_372 | Default tag table | Bool | %M3200.1 |  | True | True | True
Tag_373 | Default tag table | Bool | %M3200.2 |  | True | True | True
Tag_374 | Default tag table | Bool | %M3200.3 |  | True | True | True
Tag_375 | Default tag table | Bool | %M3200.4 |  | True | True | True
Tag_376 | Default tag table | Bool | %M3200.5 |  | True | True | True
Tag_377 | Default tag table | Bool | %M3202.0 |  | True | True | True
Tag_378 | Default tag table | Bool | %M3202.1 |  | True | True | True
Tag_379 | Default tag table | Bool | %M3202.3 |  | True | True | True
OUTPUT PID STOLZ B | Default tag table | Real | %MD3333 |  | True | True | True
Tag_380 | Default tag table | Bool | %M3203.5 |  | True | True | True
Tag_381 | Default tag table | Bool | %M3203.6 |  | True | True | True
Tag_382 | Default tag table | Bool | %M3203.7 |  | True | True | True
OUTPUT PID VAN B | Default tag table | Real | %MD3334 |  | True | True | True
Tag_383 | Default tag table | Bool | %M3204.0 |  | True | True | True
Tag_384 | Default tag table | Bool | %M3204.1 |  | True | True | True
Tag_385 | Default tag table | Bool | %M3204.2 |  | True | True | True
Tag_386 | Default tag table | Bool | %M3204.3 |  | True | True | True
Tag_387 | Default tag table | Bool | %M3204.4 |  | True | True | True
Tag_388 | Default tag table | Bool | %M3204.5 |  | True | True | True
Tag_389 | Default tag table | Bool | %M3204.7 |  | True | True | True
Tag_390 | Default tag table | Bool | %M3205.0 |  | True | True | True
Tag_391 | Default tag table | Bool | %M3205.1 |  | True | True | True
Tag_392 | Default tag table | Bool | %M3205.2 |  | True | True | True
MOV PID STOLZ B | Default tag table | Real | %MD3337 |  | True | True | True
Tag_393 | Default tag table | Bool | %M3252.0 |  | True | True | True
Tag_394 | Default tag table | Bool | %M4556.4 |  | True | True | True
TEST(2) | Default tag table | Bool | %M4556.7 |  | True | True | True
Tag_395 | Default tag table | Bool | %M56565.0 |  | True | True | True
bypass | Default tag table | Bool | %M2536.0 |  | True | True | True
Tag_396 | Default tag table | Bool | %M3696.0 |  | True | True | True
Tag_397 | Default tag table | Bool | %M447.0 |  | True | True | True
Tag_398 | Default tag table | DWord | %MD8858 |  | True | True | True
Tag_399 | Default tag table | DWord | %MD8898 |  | True | True | True
Tag_400 | Default tag table | DWord | %MD8656 |  | True | True | True
Tag_401 | Default tag table | DWord | %MD4565 |  | True | True | True
Tag_402 | Default tag table | DWord | %MD5636 |  | True | True | True
Tag_403 | Default tag table | DWord | %MD3652 |  | True | True | True
Tag_404 | Default tag table | Bool | %M1002.0 |  | True | True | True
Tag_7 | Default tag table | Bool | %M991.0 |  | True | True | True
Tag_54 | Default tag table | Timer | %T233 |  | True | True | True